## Design Calculation
Calculation Sheet
Project |  |  |  |  | : | Design of Foundation for 4-Legged Tower | [20 empty] | Designed |  |  | : | DemLegaspi | [5 empty] | Job No. |  | :
Location |  |  |  |  | : | [21 empty] | Checked |  |  | : | [6 empty] | Date |  | : | 9-7-2003
Configuration |  |  |  |  | : | [21 empty] | Type |  |  | : | [6 empty] | Author |  | : | Dem
Do not delete:
1.0 |  | MATERIAL PROPERTIES | [40 empty] | 230
275
|  | f'c |  |  |  |  | = | 20.7 |  |  |  |  | MPa |  |  |  | Compressive strength of concrete | [25 empty] | 414
|  | fy |  |  |  |  | = | 275 |  |  |  |  | MPa |  |  |  | Yield strength of Rebar
|  | g soil |  |  |  |  | = | 18 |  |  |  |  | kN/m3 |  |  |  | Unit weight of soil | [25 empty] | Do not delete:
|  | g concrete |  |  |  |  | = | 23.5 |  |  |  |  | kN/m3 |  |  |  | Unit weight of concrete | [25 empty] | 10 | 230 | 3
|  | Qallowable |  |  |  |  | = | 50 |  |  |  |  | kPa |  |  |  | Allowable Soil Bearing Capacity | [25 empty] | 12 | 230
[43 empty] | 16 | 275
2.0 |  | DIMENSIONS / GEOMETRY | [40 empty] | 20 | 275
[43 empty] | 25 | 414
|  | B |  |  |  |  | = | 5.5 |  |  |  |  | m |  |  |  | Width of footing | [25 empty] | 28 | 414
|  | Top |  |  |  |  | = | 0.5 |  |  |  |  | m |  |  |  | Dimension from Top of Pedestal to Ground Level | [25 empty] | 32 | 414
|  | D |  |  |  |  | = | 2.5 |  |  |  |  | m |  |  |  | Depth of embedment | [25 empty] | 36 | 414
|  | cc |  |  |  |  | = | 75 |  |  |  |  | mm |  |  |  | Concrete protective cover
|  | deff |  |  |  |  | = | 2.425 |  |  |  |  | m |  |  |  | Effective depth of footing
|  | Thk |  |  |  |  | = | 600 |  |  |  |  | mm |  |  |  | Thickness of footing
|  | f main |  |  |  |  | = | 16 |  |  |  |  | mm |  |  |  | Diameter of Rebar
|  | WtFdn |  |  |  |  | = | 1777.1875 |  |  |  |  | kN |  |  |  | Weight of foundation
|  | WtFill |  |  |  |  | = | 1097.55 |  |  |  |  | kN |  |  |  | Weight of soil above footing (Backfill)
|  | a |  |  |  |  | = | 1000 |  |  |  |  | mm |  |  |  | Dimension of pedestal (along X direction)
|  | b |  |  |  |  | = | 1000 |  |  |  |  | mm |  |  |  | Dimension of pedestal (along Z direction)
|  | Wtped |  |  |  |  | = | 56.4 |  |  |  |  | kN |  |  |  | Weight of pedestal
|  | Surcharge |  |  |  |  | = | 0 |  |  |  |  | kN |  |  |  | Additional Load above foundation
|  | Leg to Leg |  |  |  |  | = | 5.6001 |  |  |  |  | m |  |  |  | Leg to Leg Distance
3.0 |  | APPLIED LOADS
|  | Applied Loads at Pedestal A: | [10 empty] | (Footing A)
|  | Primary Load Cases (Service Loads) | [12 empty] | Staad Results | [14 empty] | Foundation Load
[15 empty] | Fy |  |  |  |  | Fx |  |  |  |  | Fz |  |  |  |  | P |  |  |  |  | Mxx |  |  |  | Mzz
[17 empty] | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN-m |  |  |  | kN-m
|  | 1 | ) | Dead Load | [5 empty] | (DL) |  |  |  |  | 84.6455 |  |  |  |  | -1.2512e-06 |  |  |  |  | -7.3566 |  |  |  |  | 84.6455 |  |  |  |  | -22.0699 |  |  |  | -3.7537e-06
|  | 2 | ) | Live Load | [5 empty] | (LL) |  |  |  |  | 2.9419 |  |  |  |  | -4.116e-08 |  |  |  |  | -0.21842 |  |  |  |  | 2.9419 |  |  |  |  | -0.65525 |  |  |  | -1.2348e-07
|  | 3 | ) | Seismic Load | [5 empty] | (EQx) |  |  |  |  | 1.2203e-07 |  |  |  |  | 1.6753 |  |  |  |  | -4.7718e-05 |  |  |  |  | 1.2203e-07 |  |  |  |  | -0.00014316 |  |  |  | 5.026
|  | 4 | ) | Seismic Load | [5 empty] | (EQz) |  |  |  |  | -848.6598 |  |  |  |  | -4.7676e-06 |  |  |  |  | 81.8751 |  |  |  |  | -848.6598 |  |  |  |  | 245.6252 |  |  |  | -1.4303e-05
|  | 5 | ) | Wind Load | [5 empty] | (WL+0°) |  |  |  |  | 2072.7844 |  |  |  |  | 2.1637e-05 |  |  |  |  | -251.3572 |  |  |  |  | 2072.7844 |  |  |  |  | -754.0716 |  |  |  | 6.491e-05
|  | 6 | ) | Wind Load | [5 empty] | (WL+90°) |  |  |  |  | -1450.5022 |  |  |  |  | -1.3551e-05 |  |  |  |  | 175.5349 |  |  |  |  | -1450.5022 |  |  |  |  | 526.6048 |  |  |  | -4.0654e-05
|  | 7 | ) | Wind Load | [5 empty] | (WL+45°) |  |  |  |  | -1148.1514 |  |  |  |  | 18.5157 |  |  |  |  | 151.4148 |  |  |  |  | -1148.1514 |  |  |  |  | 454.2445 |  |  |  | 55.547
|  | 8 | ) | Wind Load | [5 empty] | (WL+135°) |  |  |  |  | -1.3164e-07 |  |  |  |  | -17.8226 |  |  |  |  | -0.024864 |  |  |  |  | -1.3164e-07 |  |  |  |  | -0.074593 |  |  |  | -53.4678
|  | Applied Loads at Pedestal B: | [10 empty] | (Footing B)
|  | Primary Load Cases (Service Loads) | [12 empty] | Staad Results | [14 empty] | Foundation Load
[15 empty] | Fy |  |  |  |  | Fx |  |  |  |  | Fz |  |  |  |  | P |  |  |  |  | Mxx |  |  |  | Mzz
[17 empty] | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN-m |  |  |  | kN-m
|  | 1 | ) | Dead Load | [5 empty] | (DL) |  |  |  |  | 84.6451 |  |  |  |  | -6.3707 |  |  |  |  | 3.6783 |  |  |  |  | 84.6451 |  |  |  |  | 11.0349 |  |  |  | -19.112
|  | 2 | ) | Live Load | [5 empty] | (LL) |  |  |  |  | 2.9418 |  |  |  |  | -0.18914 |  |  |  |  | 0.10921 |  |  |  |  | 2.9418 |  |  |  |  | 0.32763 |  |  |  | -0.56743
|  | 3 | ) | Seismic Load | [5 empty] | (EQx) |  |  |  |  | -734.9619 |  |  |  |  | 61.828 |  |  |  |  | -34.7291 |  |  |  |  | -734.9619 |  |  |  |  | -104.1873 |  |  |  | 185.4841
|  | 4 | ) | Seismic Load | [5 empty] | (EQz) |  |  |  |  | 424.3298 |  |  |  |  | -34.7278 |  |  |  |  | 21.7277 |  |  |  |  | 424.3298 |  |  |  |  | 65.1831 |  |  |  | -104.1834
|  | 5 | ) | Wind Load | [5 empty] | (WL+0°) |  |  |  |  | -842.3846 |  |  |  |  | 842.3846 |  |  |  |  | -81.1526 |  |  |  |  | -842.3846 |  |  |  |  | -243.4577 |  |  |  | 2527.1539
|  | 6 | ) | Wind Load | [5 empty] | (WL+90°) |  |  |  |  | 725.2509 |  |  |  |  | -69.065 |  |  |  |  | 55.3109 |  |  |  |  | 725.2509 |  |  |  |  | 165.9327 |  |  |  | -207.1949
|  | 7 | ) | Wind Load | [5 empty] | (WL+45°) |  |  |  |  | -9.8893 |  |  |  |  | 7.703 |  |  |  |  | 9.1147 |  |  |  |  | -9.8893 |  |  |  |  | 27.3442 |  |  |  | 23.1089
|  | 8 | ) | Wind Load | [5 empty] | (WL+135°) |  |  |  |  | 824.5827 |  |  |  |  | -80.8171 |  |  |  |  | 51.3858 |  |  |  |  | 824.5827 |  |  |  |  | 154.1575 |  |  |  | -242.4514
|  | Applied Loads at Pedestal C: | [10 empty] | (Footing C)
|  | Primary Load Cases (Service Loads) | [12 empty] | Staad Results | [14 empty] | Foundation Load
[15 empty] | Fy |  |  |  |  | Fx |  |  |  |  | Fz |  |  |  |  | P |  |  |  |  | Mxx |  |  |  | Mzz
[17 empty] | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN-m |  |  |  | kN-m
|  | 1 | ) | Dead Load | [5 empty] | (DL) |  |  |  |  | 84.6452 |  |  |  |  | 6.3707 |  |  |  |  | 3.6783 |  |  |  |  | 84.6452 |  |  |  |  | 11.0349 |  |  |  | 19.112
|  | 2 | ) | Live Load | [5 empty] | (LL) |  |  |  |  | 2.9419 |  |  |  |  | 0.18914 |  |  |  |  | 0.10921 |  |  |  |  | 2.9419 |  |  |  |  | 0.32763 |  |  |  | 0.56743
|  | 3 | ) | Seismic Load | [5 empty] | (EQx) |  |  |  |  | 734.9619 |  |  |  |  | 61.8271 |  |  |  |  | 34.729 |  |  |  |  | 734.9619 |  |  |  |  | 104.1871 |  |  |  | 185.4813
|  | 4 | ) | Seismic Load | [5 empty] | (EQz) |  |  |  |  | 424.3301 |  |  |  |  | 34.7278 |  |  |  |  | 21.7277 |  |  |  |  | 424.3301 |  |  |  |  | 65.1831 |  |  |  | 104.1834
|  | 5 | ) | Wind Load | [5 empty] | (WL+0°) |  |  |  |  | -1036.3926 |  |  |  |  | -99.266 |  |  |  |  | -81.1526 |  |  |  |  | -1036.3926 |  |  |  |  | -243.4578 |  |  |  | -297.798
|  | 6 | ) | Wind Load | [5 empty] | (WL+90°) |  |  |  |  | 725.2513 |  |  |  |  | 69.0649 |  |  |  |  | 55.3109 |  |  |  |  | 725.2513 |  |  |  |  | 165.9328 |  |  |  | 207.1948
|  | 7 | ) | Wind Load | [5 empty] | (WL+45°) |  |  |  |  | 1158.0406 |  |  |  |  | 122.8039 |  |  |  |  | 91.1769 |  |  |  |  | 1158.0406 |  |  |  |  | 273.5307 |  |  |  | 368.4117
|  | 8 | ) | Wind Load | [5 empty] | (WL+135°) |  |  |  |  | -824.5827 |  |  |  |  | -81.9873 |  |  |  |  | -82.0397 |  |  |  |  | -824.5827 |  |  |  |  | -246.1192 |  |  |  | -245.9618
|  | Applied Loads at Pedestal D: | [10 empty] | (Footing D)
|  | Primary Load Cases (Service Loads) | [12 empty] | Staad Results | [14 empty] | Foundation Load
[15 empty] | Fy |  |  |  |  | Fx |  |  |  |  | Fz |  |  |  |  | P |  |  |  |  | Mxx |  |  |  | Mzz
[17 empty] | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN-m |  |  |  | kN-m
|  | 1 | ) | Dead Load | [5 empty] | (DL) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
|  | 2 | ) | Live Load | [5 empty] | (LL) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
|  | 3 | ) | Seismic Load | [5 empty] | (EQx) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
|  | 4 | ) | Seismic Load | [5 empty] | (EQz) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
|  | 5 | ) | Wind Load | [5 empty] | (WL+0°) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
|  | 6 | ) | Wind Load | [5 empty] | (WL+90°) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
|  | 7 | ) | Wind Load | [5 empty] | (WL+45°) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
|  | 8 | ) | Wind Load | [5 empty] | (WL+135°) |  |  |  |  | 0 | [14 empty] | 0 |  |  |  |  | 0 |  |  |  | 0
Excess Weight of Footing and Pedestal: (DL) << Additional DeadLoad
[5 empty] | V |  | = |  | Volume of displaced Soil
[7 empty] | = |  | Volume occupied by Footing and Pedestal
[7 empty] | = | 20.05 |  |  |  |  | m3
[5 empty] | Fy |  | = |  | Excess weight from concrete
[7 empty] | = |  | V * (Concrete density - Soil density) + Wt of pedestal (extruded)
[5 empty] | Fy |  | = | 122.025 |  |  |  |  | kN
4.0 |  | DESIGN AND CHECK
Service Load Combinations for STABILITY CHECK & SOIL BEARING CAPACITY CHECK
|  | 1) |  | 1 DL + 1 LL | [18 empty] | 9) |  | 1 DL - 1 EQz
|  | 2a) |  | 1 DL + 1 WL | [5 empty] | (WL @ 0o) | [12 empty] | 10a) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 0o)
|  | 2b) |  | 1 DL + 1 WL | [5 empty] | (WL @ 135o) | [12 empty] | 10b) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 135o)
|  | 3a) |  | 1 DL - 1 WL | [5 empty] | (WL @ 0o) | [12 empty] | 11a) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 90o)
|  | 3b) |  | 1 DL - 1 WL | [5 empty] | (WL @ 135o) | [12 empty] | 11b) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 45o)
|  | 4a) |  | 1 DL + 1 WL | [5 empty] | (WL @ 90o) | [12 empty] | 12a) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 0o)
|  | 4b) |  | 1 DL + 1 WL | [5 empty] | (WL @ 45o) | [12 empty] | 12b) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 135o)
|  | 5a) |  | 1 DL - 1 WL | [5 empty] | (WL @ 90o) | [12 empty] | 13a) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 90o)
|  | 5b) |  | 1 DL - 1 WL | [5 empty] | (WL @ 45o) | [12 empty] | 13b) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 45o)
|  | 6) |  | 1 DL + 1 EQx | [18 empty] | 14) |  | 0.75 (DL + LL + EQX)
|  | 7) |  | 1 DL - 1 EQx | [18 empty] | 15) |  | 0.75 (DL + LL + EQZ)
|  | 8) |  | 1 DL + 1 EQz
SOIL BEARING CAPACITY Check
Formulas: (Corner Pressures)
|  |  |  | Q1 | = | Fy / B2 - 6 Mxx / B3 + 6 Mzz / B3 | [14 empty] | Q3 | = | Fy / B2 + 6 Mxx / B3 - 6 Mzz / B3
|  |  |  | Q2 | = | Fy / B2 - 6 Mxx / B3 - 6 Mzz / B3 | [14 empty] | Q4 | = | Fy / B2 + 6 Mxx / B3 + 6 Mzz / B3
Notes:
|  |  |  | Actual area of Base | [7 empty] | = | 30.25 |  |  |  | m2
Effective Base Area: (shaded)
For Footing A:
| L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  |  | Effective Base Area | [10 empty] | Rqd Area |  |  | Remark
|  |  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  | kPa |  |  | kPa |  |  | kPa |  |  | Type |  |  | % |  |  |  | m2 |  |  |  | m2
| 1 |  | 209.6123 |  |  |  | -22.7251 |  |  |  | -3.8772e-06 |  |  |  | 7.7489 |  |  | 7.7489 |  |  | 6.1098 |  |  | 6.1098 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1521 |  |  | #VALUE! | #VALUE!
| 2a |  | 2279.4549 |  |  |  | -776.1415 |  |  |  | 6.1156e-05 |  |  |  | 103.344 |  |  | 103.344 |  |  | 47.3638 |  |  | 47.3638 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 34.2775 |  |  | #VALUE! | #VALUE!
| 2b |  | 206.6705 |  |  |  | -22.1444 |  |  |  | -53.4678 |  |  |  | 5.7025 |  |  | 9.5589 |  |  | 7.9617 |  |  | 4.1053 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1078 |  |  | #VALUE! | #VALUE!
| 3a |  | -1866.114 |  |  |  | 732.0018 |  |  |  | -6.8664e-05 |  |  |  | -88.088 |  |  | -88.088 |  |  | -35.2915 |  |  | -35.2915 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 3b |  | 206.6705 |  |  |  | -21.9953 |  |  |  | 53.4678 |  |  |  | 9.5535 |  |  | 5.6971 |  |  | 4.1106 |  |  | 7.9671 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1078 |  |  | #VALUE! | #VALUE!
| 4a |  | -1243.8318 |  |  |  | 504.5349 |  |  |  | -4.4407e-05 |  |  |  | -59.3135 |  |  | -59.3135 |  |  | -22.9233 |  |  | -22.9233 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 4b |  | -941.4809 |  |  |  | 432.1747 |  |  |  | 55.547 |  |  |  | -44.7057 |  |  | -48.7121 |  |  | -17.541 |  |  | -13.5346 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 5a |  | 1657.1727 |  |  |  | -548.6746 |  |  |  | 3.69e-05 |  |  |  | 74.5695 |  |  | 74.5695 |  |  | 34.9957 |  |  | 34.9957 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 24.9199 |  |  | #VALUE! | #VALUE!
| 5b |  | 1354.8219 |  |  |  | -476.3144 |  |  |  | -55.547 |  |  |  | 59.9617 |  |  | 63.9681 |  |  | 29.6133 |  |  | 25.6069 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 20.3733 |  |  | #VALUE! | #VALUE!
| 6 |  | 209.6123 |  |  |  | -22.7251 |  |  |  | -3.8772e-06 |  |  |  | 7.7489 |  |  | 7.7489 |  |  | 6.1098 |  |  | 6.1098 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1521 |  |  | #VALUE! | #VALUE!
| 7 |  | 206.6705 |  |  |  | -22.0697 |  |  |  | -5.026 |  |  |  | 7.4467 |  |  | 7.8092 |  |  | 6.2174 |  |  | 5.8549 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1078 |  |  | #VALUE! | #VALUE!
| 8 |  | -641.9894 |  |  |  | 223.5554 |  |  |  | -1.8056e-05 |  |  |  | -29.2849 |  |  | -29.2849 |  |  | -13.1607 |  |  | -13.1607 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 9 |  | 1055.3303 |  |  |  | -267.6951 |  |  |  | 1.0549e-05 |  |  |  | 44.5409 |  |  | 44.5409 |  |  | 25.233 |  |  | 25.233 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 15.8696 |  |  | #VALUE! | #VALUE!
| 10a |  | 2258.7878 |  |  |  | -773.9345 |  |  |  | 6.1532e-05 |  |  |  | 102.5812 |  |  | 102.5812 |  |  | 46.7602 |  |  | 46.7602 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 33.9667 |  |  | #VALUE! | #VALUE!
| 10b |  | 186.0034 |  |  |  | -19.9375 |  |  |  | -53.4678 |  |  |  | 4.9397 |  |  | 8.7961 |  |  | 7.3581 |  |  | 3.5017 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 2.797 |  |  | #VALUE! | #VALUE!
| 11a |  | -1264.4988 |  |  |  | 506.7419 |  |  |  | -4.4032e-05 |  |  |  | -60.0763 |  |  | -60.0763 |  |  | -23.5269 |  |  | -23.5269 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 11b |  | -962.148 |  |  |  | 434.3817 |  |  |  | 55.547 |  |  |  | -45.4685 |  |  | -49.4749 |  |  | -18.1446 |  |  | -14.1382 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 12a |  | 1711.7976 |  |  |  | -582.5975 |  |  |  | 4.5775e-05 |  |  |  | 77.5986 |  |  | 77.5986 |  |  | 35.5781 |  |  | 35.5781 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 25.7413 |  |  | #VALUE! | #VALUE!
| 12b |  | 157.2092 |  |  |  | -17.0998 |  |  |  | -40.1008 |  |  |  | 4.3675 |  |  | 7.2598 |  |  | 6.0265 |  |  | 3.1342 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 2.364 |  |  | #VALUE! | #VALUE!
| 13a |  | -930.6674 |  |  |  | 377.9098 |  |  |  | -3.3398e-05 |  |  |  | -44.3945 |  |  | -44.3945 |  |  | -17.1373 |  |  | -17.1373 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 13b |  | -703.9043 |  |  |  | 323.6396 |  |  |  | 41.6603 |  |  |  | -33.4386 |  |  | -36.4434 |  |  | -13.1005 |  |  | -10.0957 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 14 |  | 157.2092 |  |  |  | -17.0439 |  |  |  | 3.7695 |  |  |  | 5.9476 |  |  | 5.6757 |  |  | 4.4464 |  |  | 4.7183 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 2.364 |  |  | #VALUE! | #VALUE!
| 15 |  | -479.2856 |  |  |  | 167.1751 |  |  |  | -1.3635e-05 |  |  |  | -21.873 |  |  | -21.873 |  |  | -9.8153 |  |  | -9.8153 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
|  |  | Maximum Soil Pressure | [9 empty] | = | 103.344 |  |  |  | kPa |  |  | > |  | (Qallowable * 1.33 = 66.7 kPa)
[16 empty] | Therefore: |  |  |  |  | Footing area is insufficient. Increase dimensions!
For Footing B:
| L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  |  | Effective Base Area | [10 empty] | Rqd Area |  |  | Remark
|  |  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  | kPa |  |  | kPa |  |  | kPa |  |  | Type |  |  | % |  |  |  | m2 |  |  |  | m2
| 1 |  | 209.612 |  |  |  | 11.3626 |  |  |  | -19.6794 |  |  |  | 5.8099 |  |  | 7.2293 |  |  | 8.0488 |  |  | 6.6294 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1521 |  |  | #VALUE! | #VALUE!
| 2a |  | -635.7145 |  |  |  | -232.4228 |  |  |  | 2508.0419 |  |  |  | 77.8143 |  |  | -103.0813 |  |  | -119.845 |  |  | 61.0505 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 2b |  | 1031.2528 |  |  |  | 165.1924 |  |  |  | -261.5634 |  |  |  | 18.7009 |  |  | 37.5664 |  |  | 49.4811 |  |  | 30.6156 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 15.5076 |  |  | #VALUE! | #VALUE!
| 3a |  | 1049.0547 |  |  |  | 254.4927 |  |  |  | -2546.2659 |  |  |  | -66.3246 |  |  | 117.328 |  |  | 135.6836 |  |  | -47.969 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 15.7753 |  |  | #VALUE! | #VALUE!
| 3b |  | -617.9126 |  |  |  | -143.1226 |  |  |  | 223.3394 |  |  |  | -7.2111 |  |  | -23.3197 |  |  | -33.6426 |  |  | -17.534 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 4a |  | 931.921 |  |  |  | 176.9676 |  |  |  | -226.3069 |  |  |  | 16.264 |  |  | 32.5866 |  |  | 45.3506 |  |  | 29.028 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 14.0138 |  |  | #VALUE! | #VALUE!
| 4b |  | 196.7808 |  |  |  | 38.3791 |  |  |  | 3.9969 |  |  |  | 5.2652 |  |  | 4.9769 |  |  | 7.7451 |  |  | 8.0334 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 2.9591 |  |  | #VALUE! | #VALUE!
| 5a |  | -518.5808 |  |  |  | -154.8978 |  |  |  | 188.0829 |  |  |  | -4.7742 |  |  | -18.3399 |  |  | -29.5121 |  |  | -15.9464 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 5b |  | 216.5594 |  |  |  | -16.3092 |  |  |  | -42.221 |  |  |  | 6.2245 |  |  | 9.2698 |  |  | 8.0934 |  |  | 5.0482 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.2565 |  |  | #VALUE! | #VALUE!
| 6 |  | 209.612 |  |  |  | 11.3626 |  |  |  | -19.6794 |  |  |  | 5.8099 |  |  | 7.2293 |  |  | 8.0488 |  |  | 6.6294 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1521 |  |  | #VALUE! | #VALUE!
| 7 |  | 941.632 |  |  |  | 115.2222 |  |  |  | -204.5961 |  |  |  | 19.5947 |  |  | 34.3514 |  |  | 42.662 |  |  | 27.9052 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 14.1599 |  |  | #VALUE! | #VALUE!
| 8 |  | 630.9999 |  |  |  | 76.218 |  |  |  | -123.2954 |  |  |  | 13.6644 |  |  | 22.5573 |  |  | 28.0546 |  |  | 19.1617 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 9.4887 |  |  | #VALUE! | #VALUE!
| 9 |  | -217.6597 |  |  |  | -54.1481 |  |  |  | 85.0714 |  |  |  | -2.1747 |  |  | -8.3105 |  |  | -12.216 |  |  | -6.0802 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10a |  | -656.3815 |  |  |  | -233.5263 |  |  |  | 2509.9531 |  |  |  | 77.2398 |  |  | -103.7936 |  |  | -120.637 |  |  | 60.3965 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10b |  | 1010.5858 |  |  |  | 164.0889 |  |  |  | -259.6522 |  |  |  | 18.1264 |  |  | 36.8541 |  |  | 48.6892 |  |  | 29.9615 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 15.1968 |  |  | #VALUE! | #VALUE!
| 11a |  | 911.254 |  |  |  | 175.8641 |  |  |  | -224.3957 |  |  |  | 15.6895 |  |  | 31.8743 |  |  | 44.5587 |  |  | 28.3739 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 13.7031 |  |  | #VALUE! | #VALUE!
| 11b |  | 176.1138 |  |  |  | 37.2756 |  |  |  | 5.9081 |  |  |  | 4.6907 |  |  | 4.2646 |  |  | 6.9532 |  |  | 7.3793 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 2.6483 |  |  | #VALUE! | #VALUE!
| 12a |  | -474.5795 |  |  |  | -174.0714 |  |  |  | 1880.6058 |  |  |  | 58.4095 |  |  | -77.2315 |  |  | -89.7866 |  |  | 45.8544 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 12b |  | 775.646 |  |  |  | 124.14 |  |  |  | -196.5981 |  |  |  | 14.0744 |  |  | 28.2543 |  |  | 37.208 |  |  | 23.0281 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 11.6638 |  |  | #VALUE! | #VALUE!
| 13a |  | 701.1471 |  |  |  | 132.9714 |  |  |  | -170.1557 |  |  |  | 12.2467 |  |  | 24.5194 |  |  | 34.1101 |  |  | 21.8374 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 10.5436 |  |  | #VALUE! | #VALUE!
| 13b |  | 149.792 |  |  |  | 29.03 |  |  |  | 2.5721 |  |  |  | 3.9976 |  |  | 3.8121 |  |  | 5.906 |  |  | 6.0915 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 2.2525 |  |  | #VALUE! | #VALUE!
| 14 |  | -394.0125 |  |  |  | -69.6185 |  |  |  | 124.3535 |  |  |  | -6.03 |  |  | -14.9991 |  |  | -20.0204 |  |  | -11.0513 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 15 |  | 475.4563 |  |  |  | 57.4092 |  |  |  | -92.8971 |  |  |  | 10.297 |  |  | 16.9974 |  |  | 21.1381 |  |  | 14.4378 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.1497 |  |  | #VALUE! | #VALUE!
|  |  | Maximum Soil Pressure | [9 empty] | = | 135.6836 |  |  |  | kPa |  |  | > |  | (Qallowable * 1.33 = 66.7 kPa)
[16 empty] | Therefore: |  |  |  |  | Footing area is insufficient. Increase dimensions!
For Footing C:
| L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  |  | Effective Base Area | [10 empty] | Rqd Area |  |  | Remark
|  |  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  | kPa |  |  | kPa |  |  | kPa |  |  | Type |  |  | % |  |  |  | m2 |  |  |  | m2
| 1 |  | 209.612 |  |  |  | 11.3626 |  |  |  | 19.6794 |  |  |  | 7.2293 |  |  | 5.8099 |  |  | 6.6294 |  |  | 8.0488 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1521 |  |  | #VALUE! | #VALUE!
| 2a |  | -829.7224 |  |  |  | -232.4229 |  |  |  | -278.686 |  |  |  | -29.0972 |  |  | -8.9967 |  |  | -25.7604 |  |  | -45.861 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 2b |  | -617.9125 |  |  |  | -235.0843 |  |  |  | -226.8498 |  |  |  | -20.1299 |  |  | -3.7681 |  |  | -20.7238 |  |  | -37.0856 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 3a |  | 1243.0627 |  |  |  | 254.4928 |  |  |  | 316.91 |  |  |  | 43.3439 |  |  | 20.4864 |  |  | 38.842 |  |  | 61.6995 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 18.6927 |  |  | #VALUE! | #VALUE!
| 3b |  | 1031.2529 |  |  |  | 257.1541 |  |  |  | 265.0738 |  |  |  | 34.3766 |  |  | 15.2578 |  |  | 33.8054 |  |  | 52.9242 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 15.5076 |  |  | #VALUE! | #VALUE!
| 4a |  | 931.9215 |  |  |  | 176.9677 |  |  |  | 226.3069 |  |  |  | 32.5866 |  |  | 16.264 |  |  | 29.028 |  |  | 45.3507 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 14.0139 |  |  | #VALUE! | #VALUE!
| 4b |  | 1364.7108 |  |  |  | 284.5656 |  |  |  | 387.5238 |  |  |  | 48.8274 |  |  | 20.8768 |  |  | 41.4014 |  |  | 69.352 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 20.522 |  |  | #VALUE! | #VALUE!
| 5a |  | -518.5811 |  |  |  | -154.8978 |  |  |  | -188.0828 |  |  |  | -18.3399 |  |  | -4.7742 |  |  | -15.9464 |  |  | -29.5121 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 5b |  | -951.3705 |  |  |  | -262.4958 |  |  |  | -349.2997 |  |  |  | -34.5807 |  |  | -9.387 |  |  | -28.3198 |  |  | -53.5135 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 6 |  | 209.612 |  |  |  | 11.3626 |  |  |  | 19.6794 |  |  |  | 7.2293 |  |  | 5.8099 |  |  | 6.6294 |  |  | 8.0488 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.1521 |  |  | #VALUE! | #VALUE!
| 7 |  | -528.2917 |  |  |  | -93.1522 |  |  |  | -166.3692 |  |  |  | -20.1046 |  |  | -8.105 |  |  | -14.8238 |  |  | -26.8233 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 8 |  | 631.0002 |  |  |  | 76.218 |  |  |  | 123.2954 |  |  |  | 22.5573 |  |  | 13.6644 |  |  | 19.1618 |  |  | 28.0546 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 9.4887 |  |  | #VALUE! | #VALUE!
| 9 |  | -217.6599 |  |  |  | -54.1481 |  |  |  | -85.0714 |  |  |  | -8.3106 |  |  | -2.1747 |  |  | -6.0802 |  |  | -12.2161 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10a |  | -850.3894 |  |  |  | -233.5264 |  |  |  | -280.5972 |  |  |  | -29.8096 |  |  | -9.5712 |  |  | -26.4145 |  |  | -46.6529 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10b |  | -638.5796 |  |  |  | -236.1878 |  |  |  | -228.761 |  |  |  | -20.8422 |  |  | -4.3426 |  |  | -21.3779 |  |  | -37.8776 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 11a |  | 911.2545 |  |  |  | 175.8642 |  |  |  | 224.3957 |  |  |  | 31.8743 |  |  | 15.6895 |  |  | 28.3739 |  |  | 44.5587 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 13.7031 |  |  | #VALUE! | #VALUE!
| 11b |  | 1344.0438 |  |  |  | 283.4621 |  |  |  | 385.6126 |  |  |  | 48.1151 |  |  | 20.3023 |  |  | 40.7473 |  |  | 68.5601 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 20.2112 |  |  | #VALUE! | #VALUE!
| 12a |  | -620.0854 |  |  |  | -174.0715 |  |  |  | -208.5889 |  |  |  | -21.7435 |  |  | -6.6988 |  |  | -19.2539 |  |  | -34.2986 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 12b |  | -461.228 |  |  |  | -176.0675 |  |  |  | -169.7118 |  |  |  | -15.018 |  |  | -2.7773 |  |  | -15.4764 |  |  | -27.7171 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 13a |  | 701.1475 |  |  |  | 132.9715 |  |  |  | 170.1557 |  |  |  | 24.5194 |  |  | 12.2467 |  |  | 21.8375 |  |  | 34.1101 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 10.5436 |  |  | #VALUE! | #VALUE!
| 13b |  | 1025.7395 |  |  |  | 213.6699 |  |  |  | 291.0684 |  |  |  | 36.7 |  |  | 15.7063 |  |  | 31.1175 |  |  | 52.1112 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 15.4247 |  |  | #VALUE! | #VALUE!
| 14 |  | 708.4304 |  |  |  | 86.6623 |  |  |  | 153.8705 |  |  |  | 25.8429 |  |  | 14.7448 |  |  | 20.9954 |  |  | 32.0935 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 10.6531 |  |  | #VALUE! | #VALUE!
| 15 |  | 475.4566 |  |  |  | 57.4092 |  |  |  | 92.8971 |  |  |  | 16.9974 |  |  | 10.2971 |  |  | 14.4378 |  |  | 21.1381 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.1497 |  |  | #VALUE! | #VALUE!
|  |  | Maximum Soil Pressure | [9 empty] | = | #VALUE! |  |  |  | kPa |  |  | #VALUE! |  | (Qallowable * 1.33 = 66.7 kPa)
[16 empty] | Therefore: |  |  |  |  | #VALUE!
For Footing D:
| L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  |  | Effective Base Area | [10 empty] | Rqd Area |  |  | Remark
|  |  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  | kPa |  |  | kPa |  |  | kPa |  |  | Type |  |  | % |  |  |  | m2 |  |  |  | m2
| 1 |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 2a |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 2b |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 3a |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 3b |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 4a |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 4b |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 5a |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 5b |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 6 |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 7 |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 8 |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 9 |  | 122.025 |  |  |  | 0 |  |  |  | 0 |  |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | 4.0339 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.835 |  |  | #VALUE! | #VALUE!
| 10a |  | 109.8225 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.6515 |  |  | #VALUE! | #VALUE!
| 10b |  | 109.8225 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.6515 |  |  | #VALUE! | #VALUE!
| 11a |  | 109.8225 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.6515 |  |  | #VALUE! | #VALUE!
| 11b |  | 109.8225 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | 3.6305 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.6515 |  |  | #VALUE! | #VALUE!
| 12a |  | 91.5187 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.3762 |  |  | #VALUE! | #VALUE!
| 12b |  | 91.5187 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.3762 |  |  | #VALUE! | #VALUE!
| 13a |  | 91.5187 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.3762 |  |  | #VALUE! | #VALUE!
| 13b |  | 91.5187 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.3762 |  |  | #VALUE! | #VALUE!
| 14 |  | 91.5187 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.3762 |  |  | #VALUE! | #VALUE!
| 15 |  | 91.5187 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | 3.0254 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.3762 |  |  | #VALUE! | #VALUE!
|  |  | Maximum Soil Pressure | [9 empty] | = | #VALUE! |  |  |  | kPa |  |  | #VALUE! |  | (Qallowable * 1.33 = 66.7 kPa)
[16 empty] | Therefore: |  |  |  |  | #VALUE!
STRUCTURE STABILITY Check
For Footing A:
|  | L.C. |  | Fy1 |  |  |  | Fxx |  |  |  | Fzz |  |  |  | Resisting Moment | [7 empty] | Overturning Moment | [7 empty] | Factor of Safety | [6 empty] | Sliding
|  |  |  | kN |  |  |  | kN |  |  |  | kN |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  | Factor
|  | 1 |  | 1307.1623 |  |  |  | -1.2924e-06 |  |  |  | -7.575 |  |  |  | 3594.6964 |  |  |  | 3594.6964 |  |  |  | -22.7251 |  |  |  | -3.8772e-06 |  |  |  | 158.1817 |  |  |  | - |  |  | 172.5619
|  | 2a |  | 3377.0049 |  |  |  | 2.0385e-05 |  |  |  | -258.7138 |  |  |  | 9286.7634 |  |  |  | 9286.7634 |  |  |  | -776.1415 |  |  |  | 6.1156e-05 |  |  |  | 11.9653 |  |  |  | - |  |  | 13.0531
|  | 2b |  | 1304.2205 |  |  |  | -17.8226 |  |  |  | -7.3815 |  |  |  | 3586.6063 |  |  |  | 3586.6063 |  |  |  | -22.1444 |  |  |  | -53.4678 |  |  |  | 161.9641 |  |  |  | 67.0798 |  |  | 67.6088
|  | 3a |  | -768.564 |  |  |  | -2.2888e-05 |  |  |  | 244.0006 |  |  |  | -2113.5509 |  |  |  | -2113.5509 |  |  |  | 732.0018 |  |  |  | -6.8664e-05 |  |  |  | 2.8874 |  |  |  | - |  |  | 0
|  | 3b |  | 1304.2205 |  |  |  | 17.8226 |  |  |  | -7.3318 |  |  |  | 3586.6063 |  |  |  | 3586.6063 |  |  |  | -21.9953 |  |  |  | 53.4678 |  |  |  | 163.0627 |  |  |  | 67.0798 |  |  | 67.6753
|  | 4a |  | -146.2818 |  |  |  | -1.4802e-05 |  |  |  | 168.1783 |  |  |  | -402.2748 |  |  |  | -402.2748 |  |  |  | 504.5349 |  |  |  | -4.4407e-05 |  |  |  | 0.79732 |  |  |  | - |  |  | 0
|  | 4b |  | 156.0691 |  |  |  | 18.5157 |  |  |  | 144.0582 |  |  |  | 429.1899 |  |  |  | 429.1899 |  |  |  | 432.1747 |  |  |  | 55.547 |  |  |  | 0.99309 |  |  |  | 7.7266 |  |  | 1.0745
|  | 5a |  | 2754.7227 |  |  |  | 1.23e-05 |  |  |  | -182.8915 |  |  |  | 7575.4874 |  |  |  | 7575.4874 |  |  |  | -548.6746 |  |  |  | 3.69e-05 |  |  |  | 13.8069 |  |  |  | - |  |  | 15.0621
|  | 5b |  | 2452.3719 |  |  |  | -18.5157 |  |  |  | -158.7715 |  |  |  | 6744.0226 |  |  |  | 6744.0226 |  |  |  | -476.3144 |  |  |  | -55.547 |  |  |  | 14.1588 |  |  |  | 121.411 |  |  | 15.342
|  | 6 |  | 1307.1623 |  |  |  | 1.6753 |  |  |  | -7.3567 |  |  |  | 3594.6964 |  |  |  | 3594.6964 |  |  |  | -22.07 |  |  |  | 5.026 |  |  |  | 162.8771 |  |  |  | 715.2206 |  |  | 173.2485
|  | 7 |  | 1304.2205 |  |  |  | -1.6753 |  |  |  | -7.3566 |  |  |  | 3586.6063 |  |  |  | 3586.6063 |  |  |  | -22.0697 |  |  |  | -5.026 |  |  |  | 162.5126 |  |  |  | 713.6099 |  |  | 172.8607
|  | 8 |  | 455.5606 |  |  |  | -6.0188e-06 |  |  |  | 74.5185 |  |  |  | 1252.7918 |  |  |  | 1252.7918 |  |  |  | 223.5554 |  |  |  | -1.8056e-05 |  |  |  | 5.6039 |  |  |  | - |  |  | 6.1134
|  | 9 |  | 2152.8803 |  |  |  | 3.5163e-06 |  |  |  | -89.2317 |  |  |  | 5920.4208 |  |  |  | 5920.4208 |  |  |  | -267.6951 |  |  |  | 1.0549e-05 |  |  |  | 22.1163 |  |  |  | - |  |  | 24.1269
|  | 10a |  | 3246.5828 |  |  |  | 2.0511e-05 |  |  |  | -257.9782 |  |  |  | 8928.1028 |  |  |  | 8928.1028 |  |  |  | -773.9345 |  |  |  | 6.1532e-05 |  |  |  | 11.536 |  |  |  | - |  |  | 12.5847
|  | 10b |  | 1173.7984 |  |  |  | -17.8226 |  |  |  | -6.6458 |  |  |  | 3227.9456 |  |  |  | 3227.9456 |  |  |  | -19.9375 |  |  |  | -53.4678 |  |  |  | 161.9035 |  |  |  | 60.3718 |  |  | 61.7095
|  | 11a |  | -276.7038 |  |  |  | -1.4677e-05 |  |  |  | 168.914 |  |  |  | -760.9355 |  |  |  | -760.9355 |  |  |  | 506.7419 |  |  |  | -4.4032e-05 |  |  |  | 1.5016 |  |  |  | - |  |  | 0
|  | 11b |  | 25.647 |  |  |  | 18.5157 |  |  |  | 144.7939 |  |  |  | 70.5293 |  |  |  | 70.5293 |  |  |  | 434.3817 |  |  |  | 55.547 |  |  |  | 0.16237 |  |  |  | 1.2697 |  |  | 0.1757
|  | 12a |  | 2534.9601 |  |  |  | 1.5258e-05 |  |  |  | -194.1992 |  |  |  | 6971.1402 |  |  |  | 6971.1402 |  |  |  | -582.5975 |  |  |  | 4.5775e-05 |  |  |  | 11.9656 |  |  |  | - |  |  | 13.0534
|  | 12b |  | 980.3717 |  |  |  | -13.3669 |  |  |  | -5.6999 |  |  |  | 2696.0223 |  |  |  | 2696.0223 |  |  |  | -17.0998 |  |  |  | -40.1008 |  |  |  | 157.6642 |  |  |  | 67.2311 |  |  | 67.4653
|  | 13a |  | -107.5049 |  |  |  | -1.1133e-05 |  |  |  | 125.9699 |  |  |  | -295.6386 |  |  |  | -295.6386 |  |  |  | 377.9098 |  |  |  | -3.3398e-05 |  |  |  | 0.7823 |  |  |  | - |  |  | 0
|  | 13b |  | 119.2582 |  |  |  | 13.8868 |  |  |  | 107.8799 |  |  |  | 327.96 |  |  |  | 327.96 |  |  |  | 323.6396 |  |  |  | 41.6603 |  |  |  | 1.0133 |  |  |  | 7.8722 |  |  | 1.0964
|  | 14 |  | 980.3717 |  |  |  | 1.2565 |  |  |  | -5.6813 |  |  |  | 2696.0223 |  |  |  | 2696.0223 |  |  |  | -17.0439 |  |  |  | 3.7695 |  |  |  | 158.1807 |  |  |  | 715.2206 |  |  | 168.4893
|  | 15 |  | 343.8769 |  |  |  | -4.545e-06 |  |  |  | 55.725 |  |  |  | 945.6614 |  |  |  | 945.6614 |  |  |  | 167.1751 |  |  |  | -1.3635e-05 |  |  |  | 5.6567 |  |  |  | - |  |  | 6.171
|  | Governing Factor of Safety | [10 empty] | = |  | 0.16237 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
|  | Governing Sliding Factor | [10 empty] | = |  | 0 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
For Footing B:
|  | L.C. |  | Fy1 |  |  |  | Fxx |  |  |  | Fzz |  |  |  | Resisting Moment | [7 empty] | Overturning Moment | [7 empty] | Factor of Safety | [6 empty] | Sliding
|  |  |  | kN |  |  |  | kN |  |  |  | kN |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  | Factor
|  | 1 |  | 1307.162 |  |  |  | -6.5598 |  |  |  | 3.7875 |  |  |  | 3594.6954 |  |  |  | 3594.6954 |  |  |  | 11.3626 |  |  |  | -19.6794 |  |  |  | 316.3634 |  |  |  | 182.6625 |  |  | 172.5689
|  | 2a |  | 461.8355 |  |  |  | 836.014 |  |  |  | -77.4743 |  |  |  | 1270.0476 |  |  |  | 1270.0476 |  |  |  | -232.4228 |  |  |  | 2508.0419 |  |  |  | 5.4644 |  |  |  | 0.50639 |  |  | 0.55007
|  | 2b |  | 2128.8028 |  |  |  | -87.1878 |  |  |  | 55.0641 |  |  |  | 5854.2078 |  |  |  | 5854.2078 |  |  |  | 165.1924 |  |  |  | -261.5634 |  |  |  | 35.4387 |  |  |  | 22.3816 |  |  | 20.6439
|  | 3a |  | 2146.6047 |  |  |  | -848.7553 |  |  |  | 84.8309 |  |  |  | 5903.163 |  |  |  | 5903.163 |  |  |  | 254.4927 |  |  |  | -2546.2659 |  |  |  | 23.1958 |  |  |  | 2.3184 |  |  | 2.5166
|  | 3b |  | 479.6374 |  |  |  | 74.4465 |  |  |  | -47.7075 |  |  |  | 1319.0028 |  |  |  | 1319.0028 |  |  |  | -143.1226 |  |  |  | 223.3394 |  |  |  | 9.2159 |  |  |  | 5.9058 |  |  | 5.4245
|  | 4a |  | 2029.471 |  |  |  | -75.4356 |  |  |  | 58.9892 |  |  |  | 5581.0452 |  |  |  | 5581.0452 |  |  |  | 176.9676 |  |  |  | -226.3069 |  |  |  | 31.5371 |  |  |  | 24.6614 |  |  | 21.193
|  | 4b |  | 1294.3308 |  |  |  | 1.3323 |  |  |  | 12.793 |  |  |  | 3559.4097 |  |  |  | 3559.4097 |  |  |  | 38.3791 |  |  |  | 3.9969 |  |  |  | 92.7435 |  |  |  | 890.5341 |  |  | 100.6305
|  | 5a |  | 578.9692 |  |  |  | 62.6943 |  |  |  | -51.6326 |  |  |  | 1592.1654 |  |  |  | 1592.1654 |  |  |  | -154.8978 |  |  |  | 188.0829 |  |  |  | 10.2788 |  |  |  | 8.4652 |  |  | 7.1285
|  | 5b |  | 1314.1094 |  |  |  | -14.0737 |  |  |  | -5.4364 |  |  |  | 3613.8008 |  |  |  | 3613.8008 |  |  |  | -16.3092 |  |  |  | -42.221 |  |  |  | 221.5801 |  |  |  | 85.5926 |  |  | 87.1012
|  | 6 |  | 1307.162 |  |  |  | 55.4574 |  |  |  | -31.0508 |  |  |  | 3594.6954 |  |  |  | 3594.6954 |  |  |  | -93.1523 |  |  |  | 166.3721 |  |  |  | 38.5894 |  |  |  | 21.6064 |  |  | 20.5663
|  | 7 |  | 2039.182 |  |  |  | -68.1987 |  |  |  | 38.4074 |  |  |  | 5607.7505 |  |  |  | 5607.7505 |  |  |  | 115.2222 |  |  |  | -204.5961 |  |  |  | 48.669 |  |  |  | 27.4089 |  |  | 26.0532
|  | 8 |  | 1728.5499 |  |  |  | -41.0985 |  |  |  | 25.406 |  |  |  | 4753.5122 |  |  |  | 4753.5122 |  |  |  | 76.218 |  |  |  | -123.2954 |  |  |  | 62.3673 |  |  |  | 38.5538 |  |  | 35.7751
|  | 9 |  | 879.8903 |  |  |  | 28.3571 |  |  |  | -18.0494 |  |  |  | 2419.6984 |  |  |  | 2419.6984 |  |  |  | -54.1481 |  |  |  | 85.0714 |  |  |  | 44.6867 |  |  |  | 28.4432 |  |  | 26.1762
|  | 10a |  | 331.4135 |  |  |  | 836.651 |  |  |  | -77.8421 |  |  |  | 911.387 |  |  |  | 911.387 |  |  |  | -233.5263 |  |  |  | 2509.9531 |  |  |  | 3.9027 |  |  |  | 0.36311 |  |  | 0.39442
|  | 10b |  | 1998.3808 |  |  |  | -86.5507 |  |  |  | 54.6963 |  |  |  | 5495.5472 |  |  |  | 5495.5472 |  |  |  | 164.0889 |  |  |  | -259.6522 |  |  |  | 33.4913 |  |  |  | 21.165 |  |  | 19.5183
|  | 11a |  | 1899.049 |  |  |  | -74.7986 |  |  |  | 58.6214 |  |  |  | 5222.3846 |  |  |  | 5222.3846 |  |  |  | 175.8641 |  |  |  | -224.3957 |  |  |  | 29.6956 |  |  |  | 23.2731 |  |  | 19.983
|  | 11b |  | 1163.9088 |  |  |  | 1.9694 |  |  |  | 12.4252 |  |  |  | 3200.7492 |  |  |  | 3200.7492 |  |  |  | 37.2756 |  |  |  | 5.9081 |  |  |  | 85.8672 |  |  |  | 541.7525 |  |  | 92.5184
|  | 12a |  | 348.583 |  |  |  | 626.8686 |  |  |  | -58.0238 |  |  |  | 958.6032 |  |  |  | 958.6032 |  |  |  | -174.0714 |  |  |  | 1880.6058 |  |  |  | 5.507 |  |  |  | 0.50973 |  |  | 0.5537
|  | 12b |  | 1598.8085 |  |  |  | -65.5327 |  |  |  | 41.38 |  |  |  | 4396.7234 |  |  |  | 4396.7234 |  |  |  | 124.14 |  |  |  | -196.5981 |  |  |  | 35.4174 |  |  |  | 22.364 |  |  | 20.6288
|  | 13a |  | 1524.3096 |  |  |  | -56.7186 |  |  |  | 44.3238 |  |  |  | 4191.8514 |  |  |  | 4191.8514 |  |  |  | 132.9714 |  |  |  | -170.1557 |  |  |  | 31.5244 |  |  |  | 24.6354 |  |  | 21.1759
|  | 13b |  | 972.9545 |  |  |  | 0.85738 |  |  |  | 9.6767 |  |  |  | 2675.6249 |  |  |  | 2675.6249 |  |  |  | 29.03 |  |  |  | 2.5721 |  |  |  | 92.1675 |  |  |  | 1040.2353 |  |  | 100.154
|  | 14 |  | 429.15 |  |  |  | 41.4512 |  |  |  | -23.2062 |  |  |  | 1180.1626 |  |  |  | 1180.1626 |  |  |  | -69.6185 |  |  |  | 124.3535 |  |  |  | 16.9518 |  |  |  | 9.4904 |  |  | 9.0338
|  | 15 |  | 1298.6188 |  |  |  | -30.9657 |  |  |  | 19.1364 |  |  |  | 3571.2017 |  |  |  | 3571.2017 |  |  |  | 57.4092 |  |  |  | -92.8971 |  |  |  | 62.2061 |  |  |  | 38.4425 |  |  | 35.6748
|  | Governing Factor of Safety | [10 empty] | = |  | 0.36311 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
|  | Governing Sliding Factor | [10 empty] | = |  | 0.39442 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
For Footing C:
|  | L.C. |  | Fy1 |  |  |  | Fxx |  |  |  | Fzz |  |  |  | Resisting Moment | [7 empty] | Overturning Moment | [7 empty] | Factor of Safety | [6 empty] | Sliding
|  |  |  | kN |  |  |  | kN |  |  |  | kN |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  | Factor
|  | 1 |  | 1307.162 |  |  |  | 6.5598 |  |  |  | 3.7875 |  |  |  | 3594.6956 |  |  |  | 3594.6956 |  |  |  | 11.3626 |  |  |  | 19.6794 |  |  |  | 316.3634 |  |  |  | 182.6625 |  |  | 172.569
|  | 2a |  | 267.8276 |  |  |  | -92.8953 |  |  |  | -77.4743 |  |  |  | 736.5259 |  |  |  | 736.5259 |  |  |  | -232.4229 |  |  |  | -278.686 |  |  |  | 3.1689 |  |  |  | 2.6429 |  |  | 2.2141
|  | 2b |  | 479.6375 |  |  |  | -75.6166 |  |  |  | -78.3614 |  |  |  | 1319.003 |  |  |  | 1319.003 |  |  |  | -235.0843 |  |  |  | -226.8498 |  |  |  | 5.6108 |  |  |  | 5.8144 |  |  | 4.4045
|  | 3a |  | 2340.6127 |  |  |  | 105.6367 |  |  |  | 84.8309 |  |  |  | 6436.685 |  |  |  | 6436.685 |  |  |  | 254.4928 |  |  |  | 316.91 |  |  |  | 25.2922 |  |  |  | 20.3108 |  |  | 17.2762
|  | 3b |  | 2128.8029 |  |  |  | 88.3579 |  |  |  | 85.718 |  |  |  | 5854.2079 |  |  |  | 5854.2079 |  |  |  | 257.1541 |  |  |  | 265.0738 |  |  |  | 22.7654 |  |  |  | 22.0852 |  |  | 17.2927
|  | 4a |  | 2029.4715 |  |  |  | 75.4356 |  |  |  | 58.9892 |  |  |  | 5581.0465 |  |  |  | 5581.0465 |  |  |  | 176.9677 |  |  |  | 226.3069 |  |  |  | 31.5371 |  |  |  | 24.6614 |  |  | 21.193
|  | 4b |  | 2462.2608 |  |  |  | 129.1746 |  |  |  | 94.8552 |  |  |  | 6771.2172 |  |  |  | 6771.2172 |  |  |  | 284.5656 |  |  |  | 387.5238 |  |  |  | 23.7949 |  |  |  | 17.473 |  |  | 15.3641
|  | 5a |  | 578.9689 |  |  |  | -62.6943 |  |  |  | -51.6326 |  |  |  | 1592.1644 |  |  |  | 1592.1644 |  |  |  | -154.8978 |  |  |  | -188.0828 |  |  |  | 10.2788 |  |  |  | 8.4652 |  |  | 7.1285
|  | 5b |  | 146.1795 |  |  |  | -116.4332 |  |  |  | -87.4986 |  |  |  | 401.9937 |  |  |  | 401.9937 |  |  |  | -262.4958 |  |  |  | -349.2997 |  |  |  | 1.5314 |  |  |  | 1.1509 |  |  | 1.0037
|  | 6 |  | 1307.162 |  |  |  | 68.1978 |  |  |  | 38.4074 |  |  |  | 3594.6956 |  |  |  | 3594.6956 |  |  |  | 115.2221 |  |  |  | 204.5933 |  |  |  | 31.198 |  |  |  | 17.57 |  |  | 16.7009
|  | 7 |  | 569.2583 |  |  |  | -55.4564 |  |  |  | -31.0507 |  |  |  | 1565.4603 |  |  |  | 1565.4603 |  |  |  | -93.1522 |  |  |  | -166.3692 |  |  |  | 16.8054 |  |  |  | 9.4096 |  |  | 8.9566
|  | 8 |  | 1728.5502 |  |  |  | 41.0985 |  |  |  | 25.406 |  |  |  | 4753.5132 |  |  |  | 4753.5132 |  |  |  | 76.218 |  |  |  | 123.2954 |  |  |  | 62.3673 |  |  |  | 38.5539 |  |  | 35.7751
|  | 9 |  | 879.8901 |  |  |  | -28.3571 |  |  |  | -18.0494 |  |  |  | 2419.6978 |  |  |  | 2419.6978 |  |  |  | -54.1481 |  |  |  | -85.0714 |  |  |  | 44.6866 |  |  |  | 28.4431 |  |  | 26.1762
|  | 10a |  | 137.4056 |  |  |  | -93.5324 |  |  |  | -77.8421 |  |  |  | 377.8654 |  |  |  | 377.8654 |  |  |  | -233.5264 |  |  |  | -280.5972 |  |  |  | 1.6181 |  |  |  | 1.3466 |  |  | 1.1292
|  | 10b |  | 349.2154 |  |  |  | -76.2537 |  |  |  | -78.7293 |  |  |  | 960.3425 |  |  |  | 960.3425 |  |  |  | -236.1878 |  |  |  | -228.761 |  |  |  | 4.066 |  |  |  | 4.198 |  |  | 3.1862
|  | 11a |  | 1899.0495 |  |  |  | 74.7986 |  |  |  | 58.6214 |  |  |  | 5222.386 |  |  |  | 5222.386 |  |  |  | 175.8642 |  |  |  | 224.3957 |  |  |  | 29.6956 |  |  |  | 23.2731 |  |  | 19.983
|  | 11b |  | 2331.8388 |  |  |  | 128.5375 |  |  |  | 94.4874 |  |  |  | 6412.5566 |  |  |  | 6412.5566 |  |  |  | 283.4621 |  |  |  | 385.6126 |  |  |  | 22.6223 |  |  |  | 16.6295 |  |  | 14.6169
|  | 12a |  | 203.0771 |  |  |  | -69.5296 |  |  |  | -58.0238 |  |  |  | 558.462 |  |  |  | 558.462 |  |  |  | -174.0715 |  |  |  | -208.5889 |  |  |  | 3.2082 |  |  |  | 2.6773 |  |  | 2.2425
|  | 12b |  | 361.9345 |  |  |  | -56.5706 |  |  |  | -58.6892 |  |  |  | 995.3198 |  |  |  | 995.3198 |  |  |  | -176.0675 |  |  |  | -169.7118 |  |  |  | 5.6531 |  |  |  | 5.8648 |  |  | 4.4401
|  | 13a |  | 1524.31 |  |  |  | 56.7186 |  |  |  | 44.3238 |  |  |  | 4191.8525 |  |  |  | 4191.8525 |  |  |  | 132.9715 |  |  |  | 170.1557 |  |  |  | 31.5244 |  |  |  | 24.6354 |  |  | 21.1759
|  | 13b |  | 1848.902 |  |  |  | 97.0228 |  |  |  | 71.2233 |  |  |  | 5084.4805 |  |  |  | 5084.4805 |  |  |  | 213.6699 |  |  |  | 291.0684 |  |  |  | 23.796 |  |  |  | 17.4683 |  |  | 15.3616
|  | 14 |  | 1531.5929 |  |  |  | 51.2902 |  |  |  | 28.8874 |  |  |  | 4211.8806 |  |  |  | 4211.8806 |  |  |  | 86.6623 |  |  |  | 153.8705 |  |  |  | 48.6011 |  |  |  | 27.3729 |  |  | 26.0184
|  | 15 |  | 1298.6191 |  |  |  | 30.9657 |  |  |  | 19.1364 |  |  |  | 3571.2025 |  |  |  | 3571.2025 |  |  |  | 57.4092 |  |  |  | 92.8971 |  |  |  | 62.2061 |  |  |  | 38.4426 |  |  | 35.6748
|  | Governing Factor of Safety | [10 empty] | = |  | 1.1509 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
|  | Governing Sliding Factor | [10 empty] | = |  | 1.0037 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
For Footing D:
|  | L.C. |  | Fy1 |  |  |  | Fxx |  |  |  | Fzz |  |  |  | Resisting Moment | [7 empty] | Overturning Moment | [7 empty] | Factor of Safety | [6 empty] | Sliding
|  |  |  | kN |  |  |  | kN |  |  |  | kN |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  | Factor
|  | 1 |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 2a |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 2b |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 3a |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 3b |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 4a |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 4b |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 5a |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 5b |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 6 |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 7 |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 8 |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 9 |  | 1219.575 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3353.8313 |  |  |  | 3353.8313 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 10a |  | 1097.6175 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3018.4481 |  |  |  | 3018.4481 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 10b |  | 1097.6175 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3018.4481 |  |  |  | 3018.4481 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 11a |  | 1097.6175 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3018.4481 |  |  |  | 3018.4481 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 11b |  | 1097.6175 |  |  |  | 0 |  |  |  | 0 |  |  |  | 3018.4481 |  |  |  | 3018.4481 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 12a |  | 914.6812 |  |  |  | 0 |  |  |  | 0 |  |  |  | 2515.3734 |  |  |  | 2515.3734 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 12b |  | 914.6812 |  |  |  | 0 |  |  |  | 0 |  |  |  | 2515.3734 |  |  |  | 2515.3734 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 13a |  | 914.6812 |  |  |  | 0 |  |  |  | 0 |  |  |  | 2515.3734 |  |  |  | 2515.3734 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 13b |  | 914.6812 |  |  |  | 0 |  |  |  | 0 |  |  |  | 2515.3734 |  |  |  | 2515.3734 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 14 |  | 914.6812 |  |  |  | 0 |  |  |  | 0 |  |  |  | 2515.3734 |  |  |  | 2515.3734 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | 15 |  | 914.6812 |  |  |  | 0 |  |  |  | 0 |  |  |  | 2515.3734 |  |  |  | 2515.3734 |  |  |  | 0 |  |  |  | 0 |  |  |  | - |  |  |  | - |  |  | -
|  | Governing Factor of Safety | [10 empty] | = |  | 0 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
|  | Governing Sliding Factor | [10 empty] | = |  | 0 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
Load Combinations for Ultimate Strength Method
|  | 1) |  | 1.4 DL + 1.7 LL | [18 empty] | 5a) |  | 0.9 DL + 1.3 WL | [12 empty] | (WL @ 90o)
|  | 2a) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 0o) | [6 empty] | 5b) |  | 0.9 DL + 1.3 WL | [12 empty] | (WL @ 270o)
|  | 2b) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 180o) | [6 empty] | 6) |  | 0.75 (1.4 DL + 1.7 LL + 1.87 EQX)
|  | 3a) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 90o) | [6 empty] | 7) |  | 0.75 (1.4 DL + 1.7 LL + 1.87 EQZ)
|  | 3b) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 270o) | [6 empty] | 8) |  | 0.9 DL + 1.43 EQX
|  | 4a) |  | 0.9 DL + 1.3 WL | [11 empty] | (WL @ 0o) | [6 empty] | 9) |  | 0.9 DL + 1.43 EQZ
|  | 4b) |  | 0.9 DL + 1.3 WL | [11 empty] | (WL @ 180o)
For Footing A:
L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  |  | Q2 |  |  |  | Q3 |  |  |  | Q4 |  |  |  | Average Soil Pressure along edges, Qave
|  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | Q1 & Q2 |  |  |  | Q2 & Q3 |  |  |  | Q3 & Q4 |  |  | Q4 & Q1
1 |  | 294.3398 |  |  |  | -32.0117 |  |  |  | -5.4651e-06 |  |  |  | 10.8847 |  |  |  | 10.8847 |  |  |  | 8.5758 |  |  |  | 8.5758 |  |  |  | 10.8847 |  |  |  | 9.7302 |  |  |  | 8.5758 |  |  | 9.7302
2a |  | 1308.9667 |  |  |  | -419.8964 |  |  |  | 2.9979e-05 |  |  |  | 58.4144 |  |  |  | 58.4144 |  |  |  | 28.1289 |  |  |  | 28.1289 |  |  |  | 58.4144 |  |  |  | 43.2716 |  |  |  | 28.1289 |  |  | 43.2716
2b |  | 220.7549 |  |  |  | -24.048 |  |  |  | -28.0706 |  |  |  | 7.1526 |  |  |  | 9.1772 |  |  |  | 7.4427 |  |  |  | 5.4181 |  |  |  | 8.1649 |  |  |  | 8.31 |  |  |  | 6.4304 |  |  | 6.2854
3a |  | -540.7588 |  |  |  | 252.4587 |  |  |  | -2.5442e-05 |  |  |  | -26.9808 |  |  |  | -26.9808 |  |  |  | -8.7719 |  |  |  | -8.7719 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
3b |  | -382.0246 |  |  |  | 214.4696 |  |  |  | 29.1622 |  |  |  | -19.3117 |  |  |  | -21.415 |  |  |  | -5.9462 |  |  |  | -3.8428 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
4a |  | 2880.6232 |  |  |  | -1000.156 |  |  |  | 8.1005e-05 |  |  |  | 131.296 |  |  |  | 131.2959 |  |  |  | 59.1585 |  |  |  | 59.1585 |  |  |  | 131.2959 |  |  |  | 95.2272 |  |  |  | 59.1585 |  |  | 95.2272
4b |  | 186.0034 |  |  |  | -19.9598 |  |  |  | -69.5081 |  |  |  | 4.362 |  |  |  | 9.3754 |  |  |  | 7.9357 |  |  |  | 2.9224 |  |  |  | 6.8687 |  |  |  | 8.6556 |  |  |  | 5.4291 |  |  | 3.6422
5a |  | -1699.6495 |  |  |  | 664.7234 |  |  |  | -5.6228e-05 |  |  |  | -80.1588 |  |  |  | -80.1587 |  |  |  | -32.2148 |  |  |  | -32.2148 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
5b |  | -1306.5934 |  |  |  | 570.655 |  |  |  | 72.2111 |  |  |  | -61.1686 |  |  |  | -66.3769 |  |  |  | -25.2177 |  |  |  | -20.0094 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
6 |  | 220.7549 |  |  |  | -24.009 |  |  |  | 7.049 |  |  |  | 8.4177 |  |  |  | 7.9093 |  |  |  | 6.1776 |  |  |  | 6.686 |  |  |  | 8.1635 |  |  |  | 7.0435 |  |  |  | 6.4318 |  |  | 7.5519
7 |  | -969.4905 |  |  |  | 320.4806 |  |  |  | -2.4158e-05 |  |  |  | -43.6068 |  |  |  | -43.6068 |  |  |  | -20.4917 |  |  |  | -20.4917 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
8 |  | 186.0034 |  |  |  | -19.8631 |  |  |  | 7.1872 |  |  |  | 7.1244 |  |  |  | 6.606 |  |  |  | 5.1734 |  |  |  | 5.6917 |  |  |  | 6.8652 |  |  |  | 5.8897 |  |  |  | 5.4325 |  |  | 6.4081
9 |  | -1027.5801 |  |  |  | 331.3812 |  |  |  | -2.3831e-05 |  |  |  | -45.9202 |  |  |  | -45.9202 |  |  |  | -22.019 |  |  |  | -22.019 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
For Footing B:
L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  |  | Q2 |  |  |  | Q3 |  |  |  | Q4 |  |  |  | Average Soil Pressure along edges, Qave
|  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | Q1 & Q2 |  |  |  | Q2 & Q3 |  |  |  | Q3 & Q4 |  |  | Q4 & Q1
1 |  | 294.3393 |  |  |  | 16.0059 |  |  |  | -27.7214 |  |  |  | 8.1533 |  |  |  | 10.1527 |  |  |  | 11.3072 |  |  |  | 9.3077 |  |  |  | 9.153 |  |  |  | 10.7299 |  |  |  | 10.3074 |  |  | 8.7305
2a |  | -221.4975 |  |  |  | -115.8109 |  |  |  | 1305.9647 |  |  |  | 43.9514 |  |  |  | -50.2429 |  |  |  | -58.5959 |  |  |  | 35.5984 |  |  |  | 21.9757 |  |  |  | 0 |  |  |  | 17.7992 |  |  | 39.7749
2b |  | 653.6604 |  |  |  | 92.9371 |  |  |  | -148.0781 |  |  |  | 12.9169 |  |  |  | 23.5972 |  |  |  | 30.3004 |  |  |  | 19.6201 |  |  |  | 18.257 |  |  |  | 26.9488 |  |  |  | 24.9602 |  |  | 16.2685
3a |  | 601.5112 |  |  |  | 99.1191 |  |  |  | -129.5684 |  |  |  | 11.6375 |  |  |  | 20.9828 |  |  |  | 28.1318 |  |  |  | 18.7866 |  |  |  | 16.3101 |  |  |  | 24.5573 |  |  |  | 23.4592 |  |  | 15.212
3b |  | 215.5626 |  |  |  | 26.3601 |  |  |  | -8.6589 |  |  |  | 5.8631 |  |  |  | 6.4877 |  |  |  | 8.3889 |  |  |  | 7.7644 |  |  |  | 6.1754 |  |  |  | 7.4383 |  |  |  | 8.0767 |  |  | 6.8138
4a |  | -909.0969 |  |  |  | -306.5636 |  |  |  | 3268.0993 |  |  |  | 98.8607 |  |  |  | -136.855 |  |  |  | -158.9663 |  |  |  | 76.7494 |  |  |  | 49.4303 |  |  |  | 0 |  |  |  | 38.3747 |  |  | 87.805
4b |  | 1257.9606 |  |  |  | 210.3362 |  |  |  | -332.3876 |  |  |  | 22.0132 |  |  |  | 45.987 |  |  |  | 61.1578 |  |  |  | 37.1839 |  |  |  | 34.0001 |  |  |  | 53.5724 |  |  |  | 49.1709 |  |  | 29.5985
5a |  | 1128.8292 |  |  |  | 225.644 |  |  |  | -286.5542 |  |  |  | 18.8452 |  |  |  | 39.5133 |  |  |  | 55.7881 |  |  |  | 35.1201 |  |  |  | 29.1792 |  |  |  | 47.6507 |  |  |  | 45.4541 |  |  | 26.9826
5b |  | 173.147 |  |  |  | 45.4788 |  |  |  | 12.8408 |  |  |  | 4.5468 |  |  |  | 3.6207 |  |  |  | 6.9009 |  |  |  | 7.8271 |  |  |  | 4.0838 |  |  |  | 5.2608 |  |  |  | 7.364 |  |  | 6.1869
6 |  | -810.0296 |  |  |  | -134.1182 |  |  |  | 239.3504 |  |  |  | -13.3094 |  |  |  | -30.5728 |  |  |  | -40.2463 |  |  |  | -22.9828 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
7 |  | 815.877 |  |  |  | 103.4236 |  |  |  | -166.9083 |  |  |  | 17.2221 |  |  |  | 29.2606 |  |  |  | 36.7201 |  |  |  | 24.6817 |  |  |  | 23.2414 |  |  |  | 32.9904 |  |  |  | 30.7009 |  |  | 20.9519
8 |  | -864.9924 |  |  |  | -139.0564 |  |  |  | 248.0415 |  |  |  | -14.6348 |  |  |  | -32.5251 |  |  |  | -42.5547 |  |  |  | -24.6644 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
9 |  | 792.7947 |  |  |  | 103.1432 |  |  |  | -166.1831 |  |  |  | 16.4953 |  |  |  | 28.4815 |  |  |  | 35.9208 |  |  |  | 23.9347 |  |  |  | 22.4884 |  |  |  | 32.2012 |  |  |  | 29.9278 |  |  | 20.215
For Footing C:
L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  |  | Q2 |  |  |  | Q3 |  |  |  | Q4 |  |  |  | Average Soil Pressure along edges, Qave
|  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | Q1 & Q2 |  |  |  | Q2 & Q3 |  |  |  | Q3 & Q4 |  |  | Q4 & Q1
1 |  | 294.3394 |  |  |  | 16.0059 |  |  |  | 27.7214 |  |  |  | 10.1527 |  |  |  | 8.1533 |  |  |  | 9.3077 |  |  |  | 11.3072 |  |  |  | 9.153 |  |  |  | 8.7305 |  |  |  | 10.3074 |  |  | 10.7299
2a |  | -323.3516 |  |  |  | -115.811 |  |  |  | -135.5529 |  |  |  | -11.4013 |  |  |  | -1.6243 |  |  |  | -9.9774 |  |  |  | -19.7543 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
2b |  | -212.1514 |  |  |  | -117.2082 |  |  |  | -108.3389 |  |  |  | -6.6934 |  |  |  | 1.1207 |  |  |  | -7.3331 |  |  |  | -15.1472 |  |  |  | 0.56033 |  |  |  | 0.56033 |  |  |  | 0 |  |  | 0
3a |  | 601.5115 |  |  |  | 99.1191 |  |  |  | 129.5684 |  |  |  | 20.9828 |  |  |  | 11.6375 |  |  |  | 18.7866 |  |  |  | 28.1319 |  |  |  | 16.3101 |  |  |  | 15.212 |  |  |  | 23.4592 |  |  | 24.5573
3b |  | 828.7259 |  |  |  | 155.608 |  |  |  | 214.2072 |  |  |  | 29.5092 |  |  |  | 14.0592 |  |  |  | 25.2826 |  |  |  | 40.7326 |  |  |  | 21.7842 |  |  |  | 19.6709 |  |  |  | 33.0076 |  |  | 35.1209
4a |  | -1161.3072 |  |  |  | -306.5637 |  |  |  | -369.9366 |  |  |  | -40.6757 |  |  |  | -13.9936 |  |  |  | -36.1049 |  |  |  | -62.787 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
4b |  | -885.9544 |  |  |  | -310.0235 |  |  |  | -302.5496 |  |  |  | -29.0182 |  |  |  | -7.1965 |  |  |  | -29.5573 |  |  |  | -51.379 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
5a |  | 1128.8298 |  |  |  | 225.644 |  |  |  | 286.5541 |  |  |  | 39.5133 |  |  |  | 18.8452 |  |  |  | 35.1201 |  |  |  | 55.7881 |  |  |  | 29.1793 |  |  |  | 26.9827 |  |  |  | 45.4541 |  |  | 47.6507
5b |  | 1691.456 |  |  |  | 365.5213 |  |  |  | 496.1361 |  |  |  | 60.6263 |  |  |  | 24.8419 |  |  |  | 51.2055 |  |  |  | 86.9899 |  |  |  | 42.7341 |  |  |  | 38.0237 |  |  |  | 69.0977 |  |  | 73.8081
6 |  | 1251.5386 |  |  |  | 158.1268 |  |  |  | 280.9285 |  |  |  | 45.8018 |  |  |  | 25.5395 |  |  |  | 36.9446 |  |  |  | 57.2069 |  |  |  | 35.6706 |  |  |  | 31.242 |  |  |  | 47.0757 |  |  | 51.5043
7 |  | 815.8775 |  |  |  | 103.4237 |  |  |  | 166.9083 |  |  |  | 29.2606 |  |  |  | 17.2221 |  |  |  | 24.6817 |  |  |  | 36.7202 |  |  |  | 23.2414 |  |  |  | 20.9519 |  |  |  | 30.7009 |  |  | 32.9904
8 |  | 1236.9987 |  |  |  | 158.919 |  |  |  | 282.439 |  |  |  | 45.347 |  |  |  | 24.9758 |  |  |  | 36.438 |  |  |  | 56.8093 |  |  |  | 35.1614 |  |  |  | 30.7069 |  |  |  | 46.6236 |  |  | 51.0781
9 |  | 792.7952 |  |  |  | 103.1432 |  |  |  | 166.183 |  |  |  | 28.4815 |  |  |  | 16.4954 |  |  |  | 23.9347 |  |  |  | 35.9208 |  |  |  | 22.4884 |  |  |  | 20.215 |  |  |  | 29.9278 |  |  | 32.2012
For Footing D:
L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  |  | Q2 |  |  |  | Q3 |  |  |  | Q4 |  |  |  | Average Soil Pressure along edges, Qave
|  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | Q1 & Q2 |  |  |  | Q2 & Q3 |  |  |  | Q3 & Q4 |  |  | Q4 & Q1
1 |  | 294.3394 |  |  |  | 16.0059 |  |  |  | 27.7214 |  |  |  | 10.1527 |  |  |  | 8.1533 |  |  |  | 9.3077 |  |  |  | 11.3072 |  |  |  | 9.153 |  |  |  | 8.7305 |  |  |  | 10.3074 |  |  | 10.7299
2a |  | -323.3516 |  |  |  | -115.811 |  |  |  | -135.5529 |  |  |  | -11.4013 |  |  |  | -1.6243 |  |  |  | -9.9774 |  |  |  | -19.7543 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
2b |  | -212.1514 |  |  |  | -117.2082 |  |  |  | -108.3389 |  |  |  | -6.6934 |  |  |  | 1.1207 |  |  |  | -7.3331 |  |  |  | -15.1472 |  |  |  | 0.56033 |  |  |  | 0.56033 |  |  |  | 0 |  |  | 0
3a |  | 601.5115 |  |  |  | 99.1191 |  |  |  | 129.5684 |  |  |  | 20.9828 |  |  |  | 11.6375 |  |  |  | 18.7866 |  |  |  | 28.1319 |  |  |  | 16.3101 |  |  |  | 15.212 |  |  |  | 23.4592 |  |  | 24.5573
3b |  | 828.7259 |  |  |  | 155.608 |  |  |  | 214.2072 |  |  |  | 29.5092 |  |  |  | 14.0592 |  |  |  | 25.2826 |  |  |  | 40.7326 |  |  |  | 21.7842 |  |  |  | 19.6709 |  |  |  | 33.0076 |  |  | 35.1209
4a |  | -1161.3072 |  |  |  | -306.5637 |  |  |  | -369.9366 |  |  |  | -40.6757 |  |  |  | -13.9936 |  |  |  | -36.1049 |  |  |  | -62.787 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
4b |  | -885.9544 |  |  |  | -310.0235 |  |  |  | -302.5496 |  |  |  | -29.0182 |  |  |  | -7.1965 |  |  |  | -29.5573 |  |  |  | -51.379 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
5a |  | 1128.8298 |  |  |  | 225.644 |  |  |  | 286.5541 |  |  |  | 39.5133 |  |  |  | 18.8452 |  |  |  | 35.1201 |  |  |  | 55.7881 |  |  |  | 29.1793 |  |  |  | 26.9827 |  |  |  | 45.4541 |  |  | 47.6507
5b |  | 1691.456 |  |  |  | 365.5213 |  |  |  | 496.1361 |  |  |  | 60.6263 |  |  |  | 24.8419 |  |  |  | 51.2055 |  |  |  | 86.9899 |  |  |  | 42.7341 |  |  |  | 38.0237 |  |  |  | 69.0977 |  |  | 73.8081
6 |  | 1251.5386 |  |  |  | 158.1268 |  |  |  | 280.9285 |  |  |  | 45.8018 |  |  |  | 25.5395 |  |  |  | 36.9446 |  |  |  | 57.2069 |  |  |  | 35.6706 |  |  |  | 31.242 |  |  |  | 47.0757 |  |  | 51.5043
7 |  | 815.8775 |  |  |  | 103.4237 |  |  |  | 166.9083 |  |  |  | 29.2606 |  |  |  | 17.2221 |  |  |  | 24.6817 |  |  |  | 36.7202 |  |  |  | 23.2414 |  |  |  | 20.9519 |  |  |  | 30.7009 |  |  | 32.9904
8 |  | 1236.9987 |  |  |  | 158.919 |  |  |  | 282.439 |  |  |  | 45.347 |  |  |  | 24.9758 |  |  |  | 36.438 |  |  |  | 56.8093 |  |  |  | 35.1614 |  |  |  | 30.7069 |  |  |  | 46.6236 |  |  | 51.0781
9 |  | 792.7952 |  |  |  | 103.1432 |  |  |  | 166.183 |  |  |  | 28.4815 |  |  |  | 16.4954 |  |  |  | 23.9347 |  |  |  | 35.9208 |  |  |  | 22.4884 |  |  |  | 20.215 |  |  |  | 29.9278 |  |  | 32.2012
[34 empty] | Maximum Average Soil Pressure (Qave) | = | 131.2959 |  |  | kPa
CHECK FOR PUNCHING SHEAR:
[20 empty] | Vu |  | = |  | { B2 - (a + Thk) x (b + Thk) } x Qave
[22 empty] | = |  | 3635.5848 |  |  |  |  | kN
[20 empty] | b0 |  | = |  | 2 x (a + Thk) + 2 x (b + Thk)
[22 empty] | = |  | 6400 |  |  |  |  | mm
[20 empty] | Ap |  | = |  | b0 x Thk
[22 empty] | = |  | 3840000 |  |  |  |  | mm2
[20 empty] | Vc |  | = |  | (Ap / 3) x √f'c
[22 empty] | = |  | 5823.6483 |  |  |  |  | kN
[20 empty] | Vu |  | < |  | ( 0.85 Vc = 4,950.1 kN )
[24 empty] | Therefore: |  |  |  |  | Safe from Punching Shear !
DESIGN OF REINFORCEMENTS:
|  |  | Maximum Average Soil Pressure (Qave) | [14 empty] | = | 131.2959 |  |  |  | kPa
|  |  | Consider 5.5-meter strip of Footing: | [16 empty] | Mu |  | = |  | δ x L2 / 2
[22 empty] | = |  | 1827.8858 | [5 empty] | kN-m
[20 empty] | Mu |  | = |  | 0.9 f'c x b x d2 w (1 - 0.59 w)
[20 empty] | b |  | = | 5500 |  |  |  |  | mm
[20 empty] | d |  | = | 2425 |  |  |  |  | mm
[20 empty] | w |  | = | 0.003039
[20 empty] | r |  | = | 0.00022875 | [5 empty] | < |  |  | (r min |  | = | 0.0050145
[18 empty] | Use: |  | r |  | = | 0.0050145
[20 empty] | As |  | = | 66881.5 |  |  |  |  | mm2
[19 empty] | Use |  | >> |  | 332 |  |  | pcs - |  |  | 16 |  | mm Rebars
Spaced @ 15 mm center to center (Both Ways)
5.0 |  | REBAR LAYOUT
332 pcs - 16 mm Rebars
Spaced @ 15 mm center to center (Both Ways)
6.0 |  | SUMMARY OF MATERIALS
[15 empty] | Per One | [13 empty] | Total (4 - sets)
|  | 1) Volume of Concrete | [11 empty] | = | 53.6599 | [5 empty] | m3 | [6 empty] | = | 214.6397 | [5 empty] | m3
|  | 2) Weight of Concrete | [11 empty] | = | 128543.136 | [5 empty] | kgs | [6 empty] | = | 514172.544 | [5 empty] | kgs
[14 empty] | = | 128.5431 | [5 empty] | Tons | [6 empty] | = | 514.1725 | [5 empty] | Tons
|  | 3) Weight of Rebars (Approx) | [11 empty] | = | 5606.8813 | [5 empty] | kgs | [6 empty] | = | 22427.5253 | [5 empty] | kgs
[14 empty] | = | 5.6069 | [5 empty] | Tons | [6 empty] | = | 22.4275 | [5 empty] | Tons
B
X
Z
5.60
2.42
2.42
2.42
2.42
5.50
5.50
2.50
0.50
0.60
1.90
FOOTING DETAIL
zz
xx
FOUNDATION LAYOUT
1
2
3
4
Type A
Type B
Type C
Type D
131.3 kPa
Thk
a + Thk
b + Thk
B = 5.50m
δ = 722.1 kN/m
L=2.25m
5.50 m
5.50 m
0.60 m
Mxx
Mzz
P
A
C
D
5.60
Your LOGO

## Sheet2
Dimensions:
Thickness | = | 0.6
DepthPed | = | 1.9
H/3 | = | 1.6166
H/2 | = | 2.4249
LL/2 | = | 2.8
Average Pressure: | = | 131.3 kPa | δ = 722.1 kN/m
| = | B = 5.50m | 5.50 m
| = | L=2.25m | 2.25
| = | 0.6 | 0.60 m