## Design Calculation
Calculation Sheet
Project |  |  |  |  | : | Design of Foundation for 3-Legged Tower | [20 empty] | Designed |  |  | : | DemLegaspi | [5 empty] | Job No. |  | :
Location |  |  |  |  | : | [21 empty] | Checked |  |  | : | [6 empty] | Date |  | : | 9-7-2003
Configuration |  |  |  |  | : | [21 empty] | Type |  |  | : | [6 empty] | Author |  | : | Dem
Do not delete:
1.0 |  | MATERIAL PROPERTIES | [40 empty] | 230
275
|  | f'c |  |  |  |  | = | 20.7 |  |  |  |  | MPa |  |  |  | Compressive strength of concrete | [25 empty] | 414
|  | fy |  |  |  |  | = | 275 |  |  |  |  | MPa |  |  |  | Yield strength of Rebar
|  | g soil |  |  |  |  | = | 18 |  |  |  |  | kN/m3 |  |  |  | Unit weight of soil | [25 empty] | Do not delete:
|  | g concrete |  |  |  |  | = | 23.5 |  |  |  |  | kN/m3 |  |  |  | Unit weight of concrete | [25 empty] | 10 | 230 | 4
|  | Qallowable |  |  |  |  | = | 100 |  |  |  |  | kPa |  |  |  | Allowable Soil Bearing Capacity | [25 empty] | 12 | 230
[43 empty] | 16 | 275
2.0 |  | DIMENSIONS / GEOMETRY | [40 empty] | 20 | 275
[43 empty] | 25 | 414
|  | B |  |  |  |  | = | 3 |  |  |  |  | m |  |  |  | Width of footing | [7 empty] | <<< BASE OVERLAP - Decrease SIZE of BASE! | [17 empty] | 28 | 414
|  | Top |  |  |  |  | = | 0.5 |  |  |  |  | m |  |  |  | Dimension from Top of Pedestal to Ground Level | [25 empty] | 32 | 414
|  | D |  |  |  |  | = | 2.5 |  |  |  |  | m |  |  |  | Depth of embedment | [25 empty] | 36 | 414
|  | cc |  |  |  |  | = | 75 |  |  |  |  | mm |  |  |  | Concrete protective cover
|  | deff |  |  |  |  | = | 2.425 |  |  |  |  | m |  |  |  | Effective depth of footing
|  | Thk |  |  |  |  | = | 1000 |  |  |  |  | mm |  |  |  | Thickness of footing
|  | f main |  |  |  |  | = | 20 |  |  |  |  | mm |  |  |  | Diameter of Rebar
|  | WtFdn |  |  |  |  | = | 528.75 |  |  |  |  | kN |  |  |  | Weight of foundation
|  | WtFill |  |  |  |  | = | 378 |  |  |  |  | kN |  |  |  | Weight of soil above footing (Backfill)
|  | a |  |  |  |  | = | 1000 |  |  |  |  | mm |  |  |  | Dimension of pedestal (along X direction)
|  | b |  |  |  |  | = | 1000 |  |  |  |  | mm |  |  |  | Dimension of pedestal (along Z direction)
|  | Wtped |  |  |  |  | = | 47 |  |  |  |  | kN |  |  |  | Weight of pedestal
|  | Surcharge |  |  |  |  | = | 0 |  |  |  |  | kN |  |  |  | Additional Load above foundation
|  | Leg to Leg |  |  |  |  | = | 5.6001 |  |  |  |  | m |  |  |  | Leg to Leg Distance
3.0 |  | APPLIED LOADS
|  | Applied Loads at Pedestal A: | [10 empty] | (Footing A)
|  | Primary Load Cases (Service Loads) | [12 empty] | Staad Results | [14 empty] | Foundation Load
[15 empty] | Fy |  |  |  |  | Fx |  |  |  |  | Fz |  |  |  |  | P |  |  |  |  | Mxx |  |  |  | Mzz
[17 empty] | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN-m |  |  |  | kN-m
|  | 1 | ) | Dead Load | [5 empty] | (DL) |  |  |  |  | 84.6455 |  |  |  |  | -1.2512e-06 |  |  |  |  | -7.3566 |  |  |  |  | 84.6455 |  |  |  |  | -22.0699 |  |  |  | -3.7537e-06
|  | 2 | ) | Live Load | [5 empty] | (LL) |  |  |  |  | 2.9419 |  |  |  |  | -4.116e-08 |  |  |  |  | -0.21842 |  |  |  |  | 2.9419 |  |  |  |  | -0.65525 |  |  |  | -1.2348e-07
|  | 3 | ) | Seismic Load | [5 empty] | (EQx) |  |  |  |  | 1.2203e-07 |  |  |  |  | 1.6753 |  |  |  |  | -4.7718e-05 |  |  |  |  | 1.2203e-07 |  |  |  |  | -0.00014316 |  |  |  | 5.026
|  | 4 | ) | Seismic Load | [5 empty] | (EQz) |  |  |  |  | -848.6598 |  |  |  |  | -4.7676e-06 |  |  |  |  | 81.8751 |  |  |  |  | -848.6598 |  |  |  |  | 245.6252 |  |  |  | -1.4303e-05
|  | 5 | ) | Wind Load | [5 empty] | (WL+0°) |  |  |  |  | 2072.7844 |  |  |  |  | 2.1637e-05 |  |  |  |  | -251.3572 |  |  |  |  | 2072.7844 |  |  |  |  | -754.0716 |  |  |  | 6.491e-05
|  | 6 | ) | Wind Load | [5 empty] | (WL+90°) |  |  |  |  | -1450.5022 |  |  |  |  | -1.3551e-05 |  |  |  |  | 175.5349 |  |  |  |  | -1450.5022 |  |  |  |  | 526.6048 |  |  |  | -4.0654e-05
|  | 7 | ) | Wind Load | [5 empty] | (WL+270°) |  |  |  |  | -1148.1514 |  |  |  |  | 18.5157 |  |  |  |  | 151.4148 |  |  |  |  | -1148.1514 |  |  |  |  | 454.2445 |  |  |  | 55.547
|  | 8 | ) | Wind Load | [5 empty] | (WL+180°) |  |  |  |  | -1.3164e-07 |  |  |  |  | -17.8226 |  |  |  |  | -0.024864 |  |  |  |  | -1.3164e-07 |  |  |  |  | -0.074593 |  |  |  | -53.4678
|  | Applied Loads at Pedestal B: | [10 empty] | (Footing B)
|  | Primary Load Cases (Service Loads) | [12 empty] | Staad Results | [14 empty] | Foundation Load
[15 empty] | Fy |  |  |  |  | Fx |  |  |  |  | Fz |  |  |  |  | P |  |  |  |  | Mxx |  |  |  | Mzz
[17 empty] | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN-m |  |  |  | kN-m
|  | 1 | ) | Dead Load | [5 empty] | (DL) |  |  |  |  | 84.6451 |  |  |  |  | -6.3707 |  |  |  |  | 3.6783 |  |  |  |  | 84.6451 |  |  |  |  | -11.034 |  |  |  | 19.1125
|  | 2 | ) | Live Load | [5 empty] | (LL) |  |  |  |  | 2.9418 |  |  |  |  | -0.18914 |  |  |  |  | 0.10921 |  |  |  |  | 2.9418 |  |  |  |  | -0.32759 |  |  |  | 0.56745
|  | 3 | ) | Seismic Load | [5 empty] | (EQx) |  |  |  |  | -734.9619 |  |  |  |  | 61.828 |  |  |  |  | -34.7291 |  |  |  |  | -734.9619 |  |  |  |  | 108.5403 |  |  |  | -182.9709
|  | 4 | ) | Seismic Load | [5 empty] | (EQz) |  |  |  |  | 424.3298 |  |  |  |  | -34.7278 |  |  |  |  | 21.7277 |  |  |  |  | 424.3298 |  |  |  |  | -57.6339 |  |  |  | 108.5419
|  | 5 | ) | Wind Load | [5 empty] | (WL+0°) |  |  |  |  | -842.3846 |  |  |  |  | 842.3846 |  |  |  |  | -81.1526 |  |  |  |  | -842.3846 |  |  |  |  | 2066.8506 |  |  |  | -1474.4175
|  | 6 | ) | Wind Load | [5 empty] | (WL+90°) |  |  |  |  | 725.2509 |  |  |  |  | -69.065 |  |  |  |  | 55.3109 |  |  |  |  | 725.2509 |  |  |  |  | -96.4697 |  |  |  | 247.2994
|  | 7 | ) | Wind Load | [5 empty] | (WL+270°) |  |  |  |  | -9.8893 |  |  |  |  | 7.703 |  |  |  |  | 9.1147 |  |  |  |  | -9.8893 |  |  |  |  | 33.685 |  |  |  | 12.1263
|  | 8 | ) | Wind Load | [5 empty] | (WL+180°) |  |  |  |  | 824.5827 |  |  |  |  | -80.8171 |  |  |  |  | 51.3858 |  |  |  |  | 824.5827 |  |  |  |  | -132.8903 |  |  |  | 254.73
|  | Applied Loads at Pedestal C: | [10 empty] | (Footing C)
|  | Primary Load Cases (Service Loads) | [12 empty] | Staad Results | [14 empty] | Foundation Load
[15 empty] | Fy |  |  |  |  | Fx |  |  |  |  | Fz |  |  |  |  | P |  |  |  |  | Mxx |  |  |  | Mzz
[17 empty] | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN |  |  |  |  | kN-m |  |  |  | kN-m
|  | 1 | ) | Dead Load | [5 empty] | (DL) |  |  |  |  | 84.6452 |  |  |  |  | 6.3707 |  |  |  |  | 3.6783 |  |  |  |  | 84.6452 |  |  |  |  | 11.034 |  |  |  | 19.1125
|  | 2 | ) | Live Load | [5 empty] | (LL) |  |  |  |  | 2.9419 |  |  |  |  | 0.18914 |  |  |  |  | 0.10921 |  |  |  |  | 2.9419 |  |  |  |  | 0.32759 |  |  |  | 0.56745
|  | 3 | ) | Seismic Load | [5 empty] | (EQx) |  |  |  |  | 734.9619 |  |  |  |  | 61.8271 |  |  |  |  | 34.729 |  |  |  |  | 734.9619 |  |  |  |  | 108.5379 |  |  |  | 182.9693
|  | 4 | ) | Seismic Load | [5 empty] | (EQz) |  |  |  |  | 424.3301 |  |  |  |  | 34.7278 |  |  |  |  | 21.7277 |  |  |  |  | 424.3301 |  |  |  |  | 57.6339 |  |  |  | 108.5419
|  | 5 | ) | Wind Load | [5 empty] | (WL+0°) |  |  |  |  | -1036.3926 |  |  |  |  | -99.266 |  |  |  |  | -81.1526 |  |  |  |  | -1036.3926 |  |  |  |  | -136.1717 |  |  |  | -359.7397
|  | 6 | ) | Wind Load | [5 empty] | (WL+90°) |  |  |  |  | 725.2513 |  |  |  |  | 69.0649 |  |  |  |  | 55.3109 |  |  |  |  | 725.2513 |  |  |  |  | 96.4696 |  |  |  | 247.2994
|  | 7 | ) | Wind Load | [5 empty] | (WL+270°) |  |  |  |  | 1158.0406 |  |  |  |  | 122.8039 |  |  |  |  | 91.1769 |  |  |  |  | 1158.0406 |  |  |  |  | 182.2886 |  |  |  | 421.0904
|  | 8 | ) | Wind Load | [5 empty] | (WL+180°) |  |  |  |  | -824.5827 |  |  |  |  | -81.9873 |  |  |  |  | -82.0397 |  |  |  |  | -824.5827 |  |  |  |  | -89.9496 |  |  |  | -336.1264
Excess Weight of Footing and Pedestal: (DL) << Additional DeadLoad
[5 empty] | V |  | = |  | Volume of displaced Soil
[7 empty] | = |  | Volume occupied by Footing and Pedestal
[7 empty] | = | 10.5 |  |  |  |  | m3
[5 empty] | Fy |  | = |  | Excess weight from concrete
[7 empty] | = |  | V * (Concrete density - Soil density) + Wt of pedestal (extruded)
[5 empty] | Fy |  | = | 69.5 |  |  |  |  | kN
4.0 |  | DESIGN AND CHECK
Service Load Combinations for STABILITY CHECK & SOIL BEARING CAPACITY CHECK
|  | 1) |  | 1 DL + 1 LL | [18 empty] | 9) |  | 1 DL - 1 EQz
|  | 2a) |  | 1 DL + 1 WL | [5 empty] | (WL @ 0o) | [12 empty] | 10a) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 0o)
|  | 2b) |  | 1 DL + 1 WL | [5 empty] | (WL @ 180o) | [12 empty] | 10b) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 180o)
|  | 3a) |  | 1 DL - 1 WL | [5 empty] | (WL @ 0o) | [12 empty] | 11a) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 90o)
|  | 3b) |  | 1 DL - 1 WL | [5 empty] | (WL @ 180o) | [12 empty] | 11b) |  | 0.9 DL + 1 WL | [7 empty] | (WL @ 270o)
|  | 4a) |  | 1 DL + 1 WL | [5 empty] | (WL @ 90o) | [12 empty] | 12a) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 0o)
|  | 4b) |  | 1 DL + 1 WL | [5 empty] | (WL @ 270o) | [12 empty] | 12b) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 180o)
|  | 5a) |  | 1 DL - 1 WL | [5 empty] | (WL @ 90o) | [12 empty] | 13a) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 90o)
|  | 5b) |  | 1 DL - 1 WL | [5 empty] | (WL @ 270o) | [12 empty] | 13b) |  | 0.75 (DL + LL + WL) | [7 empty] | (WL @ 270o)
|  | 6) |  | 1 DL + 1 EQx | [18 empty] | 14) |  | 0.75 (DL + LL + EQX)
|  | 7) |  | 1 DL - 1 EQx | [18 empty] | 15) |  | 0.75 (DL + LL + EQZ)
|  | 8) |  | 1 DL + 1 EQz
SOIL BEARING CAPACITY Check
Formulas: (Corner Pressures)
|  |  |  | Q1 | = | Fy / B2 - 6 Mxx / B3 + 6 Mzz / B3 | [14 empty] | Q3 | = | Fy / B2 + 6 Mxx / B3 - 6 Mzz / B3
|  |  |  | Q2 | = | Fy / B2 - 6 Mxx / B3 - 6 Mzz / B3 | [14 empty] | Q4 | = | Fy / B2 + 6 Mxx / B3 + 6 Mzz / B3
Notes:
|  |  |  | Actual area of Base | [7 empty] | = | 9 |  |  |  | m2
Effective Base Area: (shaded)
For Footing A:
| L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  |  | Effective Base Area | [10 empty] | Rqd Area |  |  | Remark
|  |  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  | kPa |  |  | kPa |  |  | kPa |  |  | Type |  |  | % |  |  |  | m2 |  |  |  | m2
| 1 |  | 157.0873 |  |  |  | -22.7251 |  |  |  | -3.8772e-06 |  |  |  | 22.5042 |  |  | 22.5042 |  |  | 12.4041 |  |  | 12.4041 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.1811 |  |  | #VALUE! | #VALUE!
| 2a |  | 2226.9299 |  |  |  | -776.1415 |  |  |  | 6.1156e-05 |  |  |  | 419.9125 |  |  | 419.9125 |  |  | 74.9608 |  |  | 74.9608 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 16.7438 |  |  | #VALUE! | #VALUE!
| 2b |  | 154.1455 |  |  |  | -22.1444 |  |  |  | -53.4678 |  |  |  | 10.1665 |  |  | 33.93 |  |  | 24.088 |  |  | 0.32456 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.159 |  |  | #VALUE! | #VALUE!
| 3a |  | -1918.639 |  |  |  | 732.0018 |  |  |  | -6.8664e-05 |  |  |  | -375.8492 |  |  | -375.8491 |  |  | -50.515 |  |  | -50.5151 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 3b |  | 154.1455 |  |  |  | -21.9953 |  |  |  | 53.4678 |  |  |  | 33.8968 |  |  | 10.1334 |  |  | 0.35771 |  |  | 24.1212 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.159 |  |  | #VALUE! | #VALUE!
| 4a |  | -1296.3568 |  |  |  | 504.5349 |  |  |  | -4.4407e-05 |  |  |  | -256.1585 |  |  | -256.1585 |  |  | -31.9208 |  |  | -31.9208 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 4b |  | -994.0059 |  |  |  | 432.1747 |  |  |  | 55.547 |  |  |  | -194.1401 |  |  | -218.8277 |  |  | -26.7501 |  |  | -2.0625 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 5a |  | 1604.6477 |  |  |  | -548.6746 |  |  |  | 3.69e-05 |  |  |  | 300.2219 |  |  | 300.2219 |  |  | 56.3665 |  |  | 56.3665 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 12.065 |  |  | #VALUE! | #VALUE!
| 5b |  | 1302.2969 |  |  |  | -476.3144 |  |  |  | -55.547 |  |  |  | 238.2035 |  |  | 262.8911 |  |  | 51.1958 |  |  | 26.5082 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 9.7917 |  |  | #VALUE! | #VALUE!
| 6 |  | 157.0873 |  |  |  | -22.7251 |  |  |  | -3.8772e-06 |  |  |  | 22.5042 |  |  | 22.5042 |  |  | 12.4041 |  |  | 12.4041 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.1811 |  |  | #VALUE! | #VALUE!
| 7 |  | 154.1455 |  |  |  | -22.0697 |  |  |  | -5.026 |  |  |  | 20.9148 |  |  | 23.1485 |  |  | 13.3398 |  |  | 11.106 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.159 |  |  | #VALUE! | #VALUE!
| 8 |  | -694.5144 |  |  |  | 223.5554 |  |  |  | -1.8056e-05 |  |  |  | -126.8472 |  |  | -126.8472 |  |  | -27.4893 |  |  | -27.4893 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 9 |  | 1002.8053 |  |  |  | -267.6951 |  |  |  | 1.0549e-05 |  |  |  | 170.9106 |  |  | 170.9106 |  |  | 51.935 |  |  | 51.935 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.5399 |  |  | #VALUE! | #VALUE!
| 10a |  | 2211.5153 |  |  |  | -773.9345 |  |  |  | 6.1532e-05 |  |  |  | 417.7094 |  |  | 417.7094 |  |  | 73.7385 |  |  | 73.7385 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 16.6279 |  |  | #VALUE! | #VALUE!
| 10b |  | 138.7309 |  |  |  | -19.9375 |  |  |  | -53.4678 |  |  |  | 7.9634 |  |  | 31.7268 |  |  | 22.8657 |  |  | -0.89773 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.0431 |  |  | #VALUE! | #VALUE!
| 11a |  | -1311.7713 |  |  |  | 506.7419 |  |  |  | -4.4032e-05 |  |  |  | -258.3617 |  |  | -258.3617 |  |  | -33.143 |  |  | -33.1431 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 11b |  | -1009.4205 |  |  |  | 434.3817 |  |  |  | 55.547 |  |  |  | -196.3433 |  |  | -221.0309 |  |  | -27.9724 |  |  | -3.2848 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 12a |  | 1672.4038 |  |  |  | -582.5975 |  |  |  | 4.5775e-05 |  |  |  | 315.2888 |  |  | 315.2888 |  |  | 56.3565 |  |  | 56.3565 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 12.5745 |  |  | #VALUE! | #VALUE!
| 12b |  | 117.8155 |  |  |  | -17.0998 |  |  |  | -40.1008 |  |  |  | 7.9793 |  |  | 25.8019 |  |  | 18.202 |  |  | 0.37936 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0.88583 |  |  | #VALUE! | #VALUE!
| 13a |  | -970.0612 |  |  |  | 377.9098 |  |  |  | -3.3398e-05 |  |  |  | -191.7645 |  |  | -191.7645 |  |  | -23.8046 |  |  | -23.8046 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 13b |  | -743.2981 |  |  |  | 323.6396 |  |  |  | 41.6603 |  |  |  | -145.2507 |  |  | -163.7664 |  |  | -19.9266 |  |  | -1.4109 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 14 |  | 117.8155 |  |  |  | -17.0439 |  |  |  | 3.7695 |  |  |  | 17.7158 |  |  | 16.0405 |  |  | 8.4654 |  |  | 10.1407 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0.88583 |  |  | #VALUE! | #VALUE!
| 15 |  | -518.6794 |  |  |  | 167.1751 |  |  |  | -1.3635e-05 |  |  |  | -94.7811 |  |  | -94.7811 |  |  | -20.481 |  |  | -20.481 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
|  |  | Maximum Soil Pressure | [9 empty] | = | 419.9125 |  |  |  | kPa |  |  | > |  | (Qallowable * 1.33 = 133.3 kPa)
[16 empty] | Therefore: |  |  |  |  | Footing area is insufficient. Increase dimensions!
For Footing B:
| L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  |  | Effective Base Area | [10 empty] | Rqd Area |  |  | Remark
|  |  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  | kPa |  |  | kPa |  |  | kPa |  |  | Type |  |  | % |  |  |  | m2 |  |  |  | m2
| 1 |  | 157.087 |  |  |  | -11.3616 |  |  |  | 19.68 |  |  |  | 24.3522 |  |  | 15.6056 |  |  | 10.556 |  |  | 19.3026 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.1811 |  |  | #VALUE! | #VALUE!
| 2a |  | -688.2395 |  |  |  | 2055.8166 |  |  |  | -1455.305 |  |  |  | -856.7203 |  |  | -209.9181 |  |  | 703.7782 |  |  | 56.976 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 2b |  | 978.7278 |  |  |  | -143.9244 |  |  |  | 273.8426 |  |  |  | 201.5846 |  |  | 79.8768 |  |  | 15.9104 |  |  | 137.6182 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.3589 |  |  | #VALUE! | #VALUE!
| 3a |  | 996.5297 |  |  |  | -2077.8846 |  |  |  | 1493.5301 |  |  |  | 904.3732 |  |  | 240.5821 |  |  | -682.9222 |  |  | -19.131 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.4927 |  |  | #VALUE! | #VALUE!
| 3b |  | -670.4376 |  |  |  | 121.8563 |  |  |  | -235.6175 |  |  |  | -153.9317 |  |  | -49.2128 |  |  | 4.9456 |  |  | -99.7733 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 4a |  | 879.396 |  |  |  | -107.5037 |  |  |  | 266.4119 |  |  |  | 180.803 |  |  | 62.3977 |  |  | 14.6183 |  |  | 133.0236 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 6.612 |  |  | #VALUE! | #VALUE!
| 4b |  | 144.2558 |  |  |  | 22.651 |  |  |  | 31.2388 |  |  |  | 17.9368 |  |  | 4.0529 |  |  | 14.12 |  |  | 28.0039 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.0846 |  |  | #VALUE! | #VALUE!
| 5a |  | -571.1058 |  |  |  | 85.4357 |  |  |  | -228.1869 |  |  |  | -133.1501 |  |  | -31.7337 |  |  | 6.2377 |  |  | -95.1787 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 5b |  | 164.0344 |  |  |  | -44.719 |  |  |  | 6.9863 |  |  |  | 29.7161 |  |  | 26.6111 |  |  | 6.736 |  |  | 9.841 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.2333 |  |  | #VALUE! | #VALUE!
| 6 |  | 157.087 |  |  |  | -11.3616 |  |  |  | 19.68 |  |  |  | 24.3522 |  |  | 15.6056 |  |  | 10.556 |  |  | 19.3026 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.1811 |  |  | #VALUE! | #VALUE!
| 7 |  | 889.107 |  |  |  | -119.5743 |  |  |  | 202.0834 |  |  |  | 170.2692 |  |  | 80.4543 |  |  | 27.3102 |  |  | 117.125 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 6.685 |  |  | #VALUE! | #VALUE!
| 8 |  | 578.4749 |  |  |  | -68.668 |  |  |  | 127.6544 |  |  |  | 107.9022 |  |  | 51.1669 |  |  | 20.6478 |  |  | 77.3831 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 4.3494 |  |  | #VALUE! | #VALUE!
| 9 |  | -270.1847 |  |  |  | 46.5999 |  |  |  | -89.4293 |  |  |  | -60.2492 |  |  | -20.5029 |  |  | 0.20821 |  |  | -39.5382 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10a |  | -703.654 |  |  |  | 2056.92 |  |  |  | -1457.2163 |  |  |  | -859.1029 |  |  | -211.4513 |  |  | 702.7354 |  |  | 55.0837 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10b |  | 963.3133 |  |  |  | -142.821 |  |  |  | 271.9313 |  |  |  | 199.202 |  |  | 78.3436 |  |  | 14.8676 |  |  | 135.726 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.243 |  |  | #VALUE! | #VALUE!
| 11a |  | 863.9815 |  |  |  | -106.4003 |  |  |  | 264.5007 |  |  |  | 178.4204 |  |  | 60.8645 |  |  | 13.5755 |  |  | 131.1314 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 6.4961 |  |  | #VALUE! | #VALUE!
| 11b |  | 128.8413 |  |  |  | 23.7544 |  |  |  | 29.3275 |  |  |  | 15.5542 |  |  | 2.5197 |  |  | 13.0772 |  |  | 26.1117 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0.96873 |  |  | #VALUE! | #VALUE!
| 12a |  | -513.9733 |  |  |  | 1541.6167 |  |  |  | -1091.0532 |  |  |  | -642.1459 |  |  | -157.2334 |  |  | 527.9296 |  |  | 43.0171 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 12b |  | 736.2523 |  |  |  | -108.189 |  |  |  | 205.8075 |  |  |  | 151.5828 |  |  | 60.1128 |  |  | 12.0288 |  |  | 103.4988 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 5.5357 |  |  | #VALUE! | #VALUE!
| 13a |  | 661.7534 |  |  |  | -80.8735 |  |  |  | 200.2345 |  |  |  | 135.9966 |  |  | 47.0035 |  |  | 11.0597 |  |  | 100.0528 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 4.9756 |  |  | #VALUE! | #VALUE!
| 13b |  | 110.3982 |  |  |  | 16.7425 |  |  |  | 23.8547 |  |  |  | 13.8469 |  |  | 3.2449 |  |  | 10.686 |  |  | 21.2881 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0.83006 |  |  | #VALUE! | #VALUE!
| 14 |  | -433.4062 |  |  |  | 72.884 |  |  |  | -122.4682 |  |  |  | -91.5678 |  |  | -37.1375 |  |  | -4.7446 |  |  | -59.1749 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 15 |  | 436.0625 |  |  |  | -8.5212 |  |  |  | 96.1664 |  |  |  | 71.7153 |  |  | 28.9747 |  |  | 25.1875 |  |  | 67.9281 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.2787 |  |  | #VALUE! | #VALUE!
|  |  | Maximum Soil Pressure | [9 empty] | = | 904.3732 |  |  |  | kPa |  |  | > |  | (Qallowable * 1.33 = 133.3 kPa)
[16 empty] | Therefore: |  |  |  |  | Footing area is insufficient. Increase dimensions!
For Footing C:
| L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  | Q2 |  |  | Q3 |  |  | Q4 |  |  | Effective Base Area | [10 empty] | Rqd Area |  |  | Remark
|  |  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  | kPa |  |  | kPa |  |  | kPa |  |  | Type |  |  | % |  |  |  | m2 |  |  |  | m2
| 1 |  | 157.087 |  |  |  | 11.3616 |  |  |  | 19.68 |  |  |  | 19.3026 |  |  | 10.556 |  |  | 15.6056 |  |  | 24.3522 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.1811 |  |  | #VALUE! | #VALUE!
| 2a |  | -882.2474 |  |  |  | -125.1377 |  |  |  | -340.6271 |  |  |  | -145.914 |  |  | 5.4758 |  |  | -50.1409 |  |  | -201.5308 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 2b |  | -670.4375 |  |  |  | -78.9156 |  |  |  | -317.0139 |  |  |  | -127.4038 |  |  | 13.4913 |  |  | -21.5823 |  |  | -162.4774 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 3a |  | 1190.5377 |  |  |  | 147.2057 |  |  |  | 378.8522 |  |  |  | 183.759 |  |  | 15.3802 |  |  | 80.805 |  |  | 249.1837 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 8.9514 |  |  | #VALUE! | #VALUE!
| 3b |  | 978.7279 |  |  |  | 100.9836 |  |  |  | 355.2389 |  |  |  | 165.2487 |  |  | 7.3648 |  |  | 52.2464 |  |  | 210.1303 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.3589 |  |  | #VALUE! | #VALUE!
| 4a |  | 879.3965 |  |  |  | 107.5036 |  |  |  | 266.4119 |  |  |  | 133.0237 |  |  | 14.6184 |  |  | 62.3978 |  |  | 180.8031 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 6.612 |  |  | #VALUE! | #VALUE!
| 4b |  | 1312.1858 |  |  |  | 193.3226 |  |  |  | 440.2029 |  |  |  | 200.6607 |  |  | 5.015 |  |  | 90.9361 |  |  | 286.5819 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 9.8661 |  |  | #VALUE! | #VALUE!
| 5a |  | -571.1061 |  |  |  | -85.4356 |  |  |  | -228.1869 |  |  |  | -95.1787 |  |  | 6.2376 |  |  | -31.7337 |  |  | -133.1501 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 5b |  | -1003.8955 |  |  |  | -171.2546 |  |  |  | -401.9779 |  |  |  | -162.8158 |  |  | 15.841 |  |  | -60.2721 |  |  | -238.9289 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 6 |  | 157.087 |  |  |  | 11.3616 |  |  |  | 19.68 |  |  |  | 19.3026 |  |  | 10.556 |  |  | 15.6056 |  |  | 24.3522 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 1.1811 |  |  | #VALUE! | #VALUE!
| 7 |  | -580.8167 |  |  |  | -97.5039 |  |  |  | -163.8568 |  |  |  | -79.2803 |  |  | -6.455 |  |  | -49.7901 |  |  | -122.6153 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 8 |  | 578.4752 |  |  |  | 68.6679 |  |  |  | 127.6544 |  |  |  | 77.3831 |  |  | 20.6478 |  |  | 51.1669 |  |  | 107.9022 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 4.3494 |  |  | #VALUE! | #VALUE!
| 9 |  | -270.1849 |  |  |  | -46.5999 |  |  |  | -89.4294 |  |  |  | -39.5382 |  |  | 0.20818 |  |  | -20.5029 |  |  | -60.2493 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10a |  | -897.6619 |  |  |  | -126.2411 |  |  |  | -342.5384 |  |  |  | -147.8063 |  |  | 4.433 |  |  | -51.6741 |  |  | -203.9134 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 10b |  | -685.8521 |  |  |  | -80.019 |  |  |  | -318.9251 |  |  |  | -129.296 |  |  | 12.4485 |  |  | -23.1155 |  |  | -164.86 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 11a |  | 863.982 |  |  |  | 106.4002 |  |  |  | 264.5007 |  |  |  | 131.1314 |  |  | 13.5756 |  |  | 60.8646 |  |  | 178.4204 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 6.4961 |  |  | #VALUE! | #VALUE!
| 11b |  | 1296.7713 |  |  |  | 192.2192 |  |  |  | 438.2917 |  |  |  | 198.7685 |  |  | 3.9722 |  |  | 89.4029 |  |  | 284.1992 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 9.7502 |  |  | #VALUE! | #VALUE!
| 12a |  | -659.4791 |  |  |  | -93.6076 |  |  |  | -255.0448 |  |  |  | -109.1504 |  |  | 4.2028 |  |  | -37.4005 |  |  | -150.7538 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 12b |  | -500.6218 |  |  |  | -58.941 |  |  |  | -237.3348 |  |  |  | -95.2677 |  |  | 10.2144 |  |  | -15.9816 |  |  | -121.4637 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 0 |  |  | #VALUE! | #VALUE!
| 13a |  | 661.7537 |  |  |  | 80.8734 |  |  |  | 200.2345 |  |  |  | 100.0529 |  |  | 11.0598 |  |  | 47.0035 |  |  | 135.9966 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 4.9756 |  |  | #VALUE! | #VALUE!
| 13b |  | 986.3457 |  |  |  | 145.2376 |  |  |  | 330.5778 |  |  |  | 150.7807 |  |  | 3.8572 |  |  | 68.4073 |  |  | 215.3307 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 7.4161 |  |  | #VALUE! | #VALUE!
| 14 |  | 669.0367 |  |  |  | 89.9246 |  |  |  | 151.987 |  |  |  | 88.129 |  |  | 20.5793 |  |  | 60.5458 |  |  | 128.0955 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 5.0304 |  |  | #VALUE! | #VALUE!
| 15 |  | 436.0628 |  |  |  | 51.7466 |  |  |  | 96.1664 |  |  |  | 58.3225 |  |  | 15.5819 |  |  | 38.5804 |  |  | 81.321 |  |  | #VALUE! |  |  | #VALUE! |  |  |  | #VALUE! |  |  |  | 3.2787 |  |  | #VALUE! | #VALUE!
|  |  | Maximum Soil Pressure | [9 empty] | = | #VALUE! |  |  |  | kPa |  |  | #VALUE! |  | (Qallowable * 1.33 = 133.3 kPa)
[16 empty] | Therefore: |  |  |  |  | #VALUE!
STRUCTURE STABILITY Check
For Footing A:
|  | L.C. |  | Fy1 |  |  |  | Fxx |  |  |  | Fzz |  |  |  | Resisting Moment | [7 empty] | Overturning Moment | [7 empty] | Factor of Safety | [6 empty] | Sliding
|  |  |  | kN |  |  |  | kN |  |  |  | kN |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  | Factor
|  | 1 |  | 535.0873 |  |  |  | -1.2924e-06 |  |  |  | -7.575 |  |  |  | 802.631 |  |  |  | 802.631 |  |  |  | -22.7251 |  |  |  | -3.8772e-06 |  |  |  | 35.3191 |  |  |  | - |  |  | 70.6383
|  | 2a |  | 2604.9299 |  |  |  | 2.0385e-05 |  |  |  | -258.7138 |  |  |  | 3907.3948 |  |  |  | 3907.3948 |  |  |  | -776.1415 |  |  |  | 6.1156e-05 |  |  |  | 5.0344 |  |  |  | - |  |  | 10.0688
|  | 2b |  | 532.1455 |  |  |  | -17.8226 |  |  |  | -7.3815 |  |  |  | 798.2182 |  |  |  | 798.2182 |  |  |  | -22.1444 |  |  |  | -53.4678 |  |  |  | 36.046 |  |  |  | 14.929 |  |  | 27.5856
|  | 3a |  | -1540.639 |  |  |  | -2.2888e-05 |  |  |  | 244.0006 |  |  |  | -2310.9584 |  |  |  | -2310.9584 |  |  |  | 732.0018 |  |  |  | -6.8664e-05 |  |  |  | 3.157 |  |  |  | - |  |  | 0
|  | 3b |  | 532.1455 |  |  |  | 17.8226 |  |  |  | -7.3318 |  |  |  | 798.2182 |  |  |  | 798.2182 |  |  |  | -21.9953 |  |  |  | 53.4678 |  |  |  | 36.2905 |  |  |  | 14.929 |  |  | 27.6128
|  | 4a |  | -918.3568 |  |  |  | -1.4802e-05 |  |  |  | 168.1783 |  |  |  | -1377.5351 |  |  |  | -1377.5351 |  |  |  | 504.5349 |  |  |  | -4.4407e-05 |  |  |  | 2.7303 |  |  |  | - |  |  | 0
|  | 4b |  | -616.0059 |  |  |  | 18.5157 |  |  |  | 144.0582 |  |  |  | -924.0089 |  |  |  | -924.0089 |  |  |  | 432.1747 |  |  |  | 55.547 |  |  |  | 2.138 |  |  |  | 16.6347 |  |  | 0
|  | 5a |  | 1982.6477 |  |  |  | 1.23e-05 |  |  |  | -182.8915 |  |  |  | 2973.9715 |  |  |  | 2973.9715 |  |  |  | -548.6746 |  |  |  | 3.69e-05 |  |  |  | 5.4203 |  |  |  | - |  |  | 10.8406
|  | 5b |  | 1680.2969 |  |  |  | -18.5157 |  |  |  | -158.7715 |  |  |  | 2520.4453 |  |  |  | 2520.4453 |  |  |  | -476.3144 |  |  |  | -55.547 |  |  |  | 5.2916 |  |  |  | 45.375 |  |  | 10.5119
|  | 6 |  | 535.0873 |  |  |  | 1.6753 |  |  |  | -7.3567 |  |  |  | 802.631 |  |  |  | 802.631 |  |  |  | -22.07 |  |  |  | 5.026 |  |  |  | 36.3675 |  |  |  | 159.6959 |  |  | 70.9193
|  | 7 |  | 532.1455 |  |  |  | -1.6753 |  |  |  | -7.3566 |  |  |  | 798.2182 |  |  |  | 798.2182 |  |  |  | -22.0697 |  |  |  | -5.026 |  |  |  | 36.168 |  |  |  | 158.8176 |  |  | 70.5303
|  | 8 |  | -316.5144 |  |  |  | -6.0188e-06 |  |  |  | 74.5185 |  |  |  | -474.7715 |  |  |  | -474.7715 |  |  |  | 223.5554 |  |  |  | -1.8056e-05 |  |  |  | 2.1237 |  |  |  | - |  |  | 0
|  | 9 |  | 1380.8053 |  |  |  | 3.5163e-06 |  |  |  | -89.2317 |  |  |  | 2071.2079 |  |  |  | 2071.2079 |  |  |  | -267.6951 |  |  |  | 1.0549e-05 |  |  |  | 7.7372 |  |  |  | - |  |  | 15.4744
|  | 10a |  | 2551.7153 |  |  |  | 2.0511e-05 |  |  |  | -257.9782 |  |  |  | 3827.573 |  |  |  | 3827.573 |  |  |  | -773.9345 |  |  |  | 6.1532e-05 |  |  |  | 4.9456 |  |  |  | - |  |  | 9.8912
|  | 10b |  | 478.9309 |  |  |  | -17.8226 |  |  |  | -6.6458 |  |  |  | 718.3964 |  |  |  | 718.3964 |  |  |  | -19.9375 |  |  |  | -53.4678 |  |  |  | 36.0325 |  |  |  | 13.4361 |  |  | 25.1786
|  | 11a |  | -971.5713 |  |  |  | -1.4677e-05 |  |  |  | 168.914 |  |  |  | -1457.357 |  |  |  | -1457.357 |  |  |  | 506.7419 |  |  |  | -4.4032e-05 |  |  |  | 2.8759 |  |  |  | - |  |  | 0
|  | 11b |  | -669.2205 |  |  |  | 18.5157 |  |  |  | 144.7939 |  |  |  | -1003.8307 |  |  |  | -1003.8307 |  |  |  | 434.3817 |  |  |  | 55.547 |  |  |  | 2.3109 |  |  |  | 18.0717 |  |  | 0
|  | 12a |  | 1955.9038 |  |  |  | 1.5258e-05 |  |  |  | -194.1992 |  |  |  | 2933.8557 |  |  |  | 2933.8557 |  |  |  | -582.5975 |  |  |  | 4.5775e-05 |  |  |  | 5.0358 |  |  |  | - |  |  | 10.0716
|  | 12b |  | 401.3155 |  |  |  | -13.3669 |  |  |  | -5.6999 |  |  |  | 601.9732 |  |  |  | 601.9732 |  |  |  | -17.0998 |  |  |  | -40.1008 |  |  |  | 35.2036 |  |  |  | 15.0115 |  |  | 27.6169
|  | 13a |  | -686.5612 |  |  |  | -1.1133e-05 |  |  |  | 125.9699 |  |  |  | -1029.8418 |  |  |  | -1029.8418 |  |  |  | 377.9098 |  |  |  | -3.3398e-05 |  |  |  | 2.7251 |  |  |  | - |  |  | 0
|  | 13b |  | -459.7981 |  |  |  | 13.8868 |  |  |  | 107.8799 |  |  |  | -689.6971 |  |  |  | -689.6971 |  |  |  | 323.6396 |  |  |  | 41.6603 |  |  |  | 2.1311 |  |  |  | 16.5553 |  |  | 0
|  | 14 |  | 401.3155 |  |  |  | 1.2565 |  |  |  | -5.6813 |  |  |  | 601.9732 |  |  |  | 601.9732 |  |  |  | -17.0439 |  |  |  | 3.7695 |  |  |  | 35.3189 |  |  |  | 159.6959 |  |  | 68.9712
|  | 15 |  | -235.1794 |  |  |  | -4.545e-06 |  |  |  | 55.725 |  |  |  | -352.7691 |  |  |  | -352.7691 |  |  |  | 167.1751 |  |  |  | -1.3635e-05 |  |  |  | 2.1102 |  |  |  | - |  |  | 0
|  | Governing Factor of Safety | [10 empty] | = |  | 2.1102 |  |  |  | > |  | 1.5 |  |  |  | << Therefore safe from Overturning
|  | Governing Sliding Factor | [10 empty] | = |  | 0 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
For Footing B:
|  | L.C. |  | Fy1 |  |  |  | Fxx |  |  |  | Fzz |  |  |  | Resisting Moment | [7 empty] | Overturning Moment | [7 empty] | Factor of Safety | [6 empty] | Sliding
|  |  |  | kN |  |  |  | kN |  |  |  | kN |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  | Factor
|  | 1 |  | 535.087 |  |  |  | -6.5598 |  |  |  | 3.7875 |  |  |  | 802.6304 |  |  |  | 802.6304 |  |  |  | 11.3626 |  |  |  | -19.6794 |  |  |  | 70.6382 |  |  |  | 40.7852 |  |  | 70.6411
|  | 2a |  | -310.2395 |  |  |  | 836.014 |  |  |  | -77.4743 |  |  |  | -465.3593 |  |  |  | -465.3593 |  |  |  | -232.4228 |  |  |  | 2508.0419 |  |  |  | 2.0022 |  |  |  | 0.18555 |  |  | 0
|  | 2b |  | 1356.7278 |  |  |  | -87.1878 |  |  |  | 55.0641 |  |  |  | 2035.0917 |  |  |  | 2035.0917 |  |  |  | 165.1924 |  |  |  | -261.5634 |  |  |  | 12.3195 |  |  |  | 7.7805 |  |  | 13.1568
|  | 3a |  | 1374.5297 |  |  |  | -848.7553 |  |  |  | 84.8309 |  |  |  | 2061.7946 |  |  |  | 2061.7946 |  |  |  | 254.4927 |  |  |  | -2546.2659 |  |  |  | 8.1016 |  |  |  | 0.80973 |  |  | 1.6114
|  | 3b |  | -292.4376 |  |  |  | 74.4465 |  |  |  | -47.7075 |  |  |  | -438.6564 |  |  |  | -438.6564 |  |  |  | -143.1226 |  |  |  | 223.3394 |  |  |  | 3.0649 |  |  |  | 1.9641 |  |  | 0
|  | 4a |  | 1257.396 |  |  |  | -75.4356 |  |  |  | 58.9892 |  |  |  | 1886.0939 |  |  |  | 1886.0939 |  |  |  | 176.9676 |  |  |  | -226.3069 |  |  |  | 10.6578 |  |  |  | 8.3342 |  |  | 13.1305
|  | 4b |  | 522.2558 |  |  |  | 1.3323 |  |  |  | 12.793 |  |  |  | 783.3837 |  |  |  | 783.3837 |  |  |  | 38.3791 |  |  |  | 3.9969 |  |  |  | 20.4117 |  |  |  | 195.996 |  |  | 40.6039
|  | 5a |  | -193.1058 |  |  |  | 62.6943 |  |  |  | -51.6326 |  |  |  | -289.6586 |  |  |  | -289.6586 |  |  |  | -154.8978 |  |  |  | 188.0829 |  |  |  | 1.87 |  |  |  | 1.5401 |  |  | 0
|  | 5b |  | 542.0344 |  |  |  | -14.0737 |  |  |  | -5.4364 |  |  |  | 813.0516 |  |  |  | 813.0516 |  |  |  | -16.3092 |  |  |  | -42.221 |  |  |  | 49.8522 |  |  |  | 19.2571 |  |  | 35.9269
|  | 6 |  | 535.087 |  |  |  | 55.4574 |  |  |  | -31.0508 |  |  |  | 802.6304 |  |  |  | 802.6304 |  |  |  | -93.1523 |  |  |  | 166.3721 |  |  |  | 8.6163 |  |  |  | 4.8243 |  |  | 8.4188
|  | 7 |  | 1267.107 |  |  |  | -68.1987 |  |  |  | 38.4074 |  |  |  | 1900.6605 |  |  |  | 1900.6605 |  |  |  | 115.2222 |  |  |  | -204.5961 |  |  |  | 16.4956 |  |  |  | 9.2898 |  |  | 16.1889
|  | 8 |  | 956.4749 |  |  |  | -41.0985 |  |  |  | 25.406 |  |  |  | 1434.7123 |  |  |  | 1434.7123 |  |  |  | 76.218 |  |  |  | -123.2954 |  |  |  | 18.8238 |  |  |  | 11.6364 |  |  | 19.7958
|  | 9 |  | 107.8153 |  |  |  | 28.3571 |  |  |  | -18.0494 |  |  |  | 161.723 |  |  |  | 161.723 |  |  |  | -54.1481 |  |  |  | 85.0714 |  |  |  | 2.9867 |  |  |  | 1.901 |  |  | 3.2074
|  | 10a |  | -363.454 |  |  |  | 836.651 |  |  |  | -77.8421 |  |  |  | -545.1811 |  |  |  | -545.1811 |  |  |  | -233.5263 |  |  |  | 2509.9531 |  |  |  | 2.3346 |  |  |  | 0.21721 |  |  | 0
|  | 10b |  | 1303.5133 |  |  |  | -86.5507 |  |  |  | 54.6963 |  |  |  | 1955.27 |  |  |  | 1955.27 |  |  |  | 164.0889 |  |  |  | -259.6522 |  |  |  | 11.9159 |  |  |  | 7.5303 |  |  | 12.7315
|  | 11a |  | 1204.1815 |  |  |  | -74.7986 |  |  |  | 58.6214 |  |  |  | 1806.2722 |  |  |  | 1806.2722 |  |  |  | 175.8641 |  |  |  | -224.3957 |  |  |  | 10.2708 |  |  |  | 8.0495 |  |  | 12.6712
|  | 11b |  | 469.0413 |  |  |  | 1.9694 |  |  |  | 12.4252 |  |  |  | 703.562 |  |  |  | 703.562 |  |  |  | 37.2756 |  |  |  | 5.9081 |  |  |  | 18.8746 |  |  |  | 119.0835 |  |  | 37.2838
|  | 12a |  | -230.4733 |  |  |  | 626.8686 |  |  |  | -58.0238 |  |  |  | -345.7099 |  |  |  | -345.7099 |  |  |  | -174.0714 |  |  |  | 1880.6058 |  |  |  | 1.986 |  |  |  | 0.18383 |  |  | 0
|  | 12b |  | 1019.7523 |  |  |  | -65.5327 |  |  |  | 41.38 |  |  |  | 1529.6284 |  |  |  | 1529.6284 |  |  |  | 124.14 |  |  |  | -196.5981 |  |  |  | 12.3218 |  |  |  | 7.7805 |  |  | 13.1574
|  | 13a |  | 945.2534 |  |  |  | -56.7186 |  |  |  | 44.3238 |  |  |  | 1417.88 |  |  |  | 1417.88 |  |  |  | 132.9714 |  |  |  | -170.1557 |  |  |  | 10.663 |  |  |  | 8.3328 |  |  | 13.1316
|  | 13b |  | 393.8982 |  |  |  | 0.85738 |  |  |  | 9.6767 |  |  |  | 590.8474 |  |  |  | 590.8474 |  |  |  | 29.03 |  |  |  | 2.5721 |  |  |  | 20.353 |  |  |  | 229.7109 |  |  | 40.5471
|  | 14 |  | -149.9062 |  |  |  | 41.4512 |  |  |  | -23.2062 |  |  |  | -224.8593 |  |  |  | -224.8593 |  |  |  | -69.6185 |  |  |  | 124.3535 |  |  |  | 3.2299 |  |  |  | 1.8082 |  |  | 0
|  | 15 |  | 719.5625 |  |  |  | -30.9657 |  |  |  | 19.1364 |  |  |  | 1079.3438 |  |  |  | 1079.3438 |  |  |  | 57.4092 |  |  |  | -92.8971 |  |  |  | 18.8009 |  |  |  | 11.6187 |  |  | 19.7673
|  | Governing Factor of Safety | [10 empty] | = |  | 0.18383 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
|  | Governing Sliding Factor | [10 empty] | = |  | 0 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
For Footing C:
|  | L.C. |  | Fy1 |  |  |  | Fxx |  |  |  | Fzz |  |  |  | Resisting Moment | [7 empty] | Overturning Moment | [7 empty] | Factor of Safety | [6 empty] | Sliding
|  |  |  | kN |  |  |  | kN |  |  |  | kN |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  |  | x |  |  |  | z |  |  | Factor
|  | 1 |  | 535.087 |  |  |  | 6.5598 |  |  |  | 3.7875 |  |  |  | 802.6305 |  |  |  | 802.6305 |  |  |  | 11.3626 |  |  |  | 19.6794 |  |  |  | 70.6382 |  |  |  | 40.7852 |  |  | 70.6411
|  | 2a |  | -504.2474 |  |  |  | -92.8953 |  |  |  | -77.4743 |  |  |  | -756.3711 |  |  |  | -756.3711 |  |  |  | -232.4229 |  |  |  | -278.686 |  |  |  | 3.2543 |  |  |  | 2.7141 |  |  | 0
|  | 2b |  | -292.4375 |  |  |  | -75.6166 |  |  |  | -78.3614 |  |  |  | -438.6563 |  |  |  | -438.6563 |  |  |  | -235.0843 |  |  |  | -226.8498 |  |  |  | 1.866 |  |  |  | 1.9337 |  |  | 0
|  | 3a |  | 1568.5377 |  |  |  | 105.6367 |  |  |  | 84.8309 |  |  |  | 2352.8066 |  |  |  | 2352.8066 |  |  |  | 254.4928 |  |  |  | 316.91 |  |  |  | 9.2451 |  |  |  | 7.4242 |  |  | 11.5775
|  | 3b |  | 1356.7279 |  |  |  | 88.3579 |  |  |  | 85.718 |  |  |  | 2035.0918 |  |  |  | 2035.0918 |  |  |  | 257.1541 |  |  |  | 265.0738 |  |  |  | 7.9139 |  |  |  | 7.6775 |  |  | 11.0209
|  | 4a |  | 1257.3965 |  |  |  | 75.4356 |  |  |  | 58.9892 |  |  |  | 1886.0947 |  |  |  | 1886.0947 |  |  |  | 176.9677 |  |  |  | 226.3069 |  |  |  | 10.6578 |  |  |  | 8.3342 |  |  | 13.1305
|  | 4b |  | 1690.1858 |  |  |  | 129.1746 |  |  |  | 94.8552 |  |  |  | 2535.2787 |  |  |  | 2535.2787 |  |  |  | 284.5656 |  |  |  | 387.5238 |  |  |  | 8.9093 |  |  |  | 6.5423 |  |  | 10.5465
|  | 5a |  | -193.1061 |  |  |  | -62.6943 |  |  |  | -51.6326 |  |  |  | -289.6592 |  |  |  | -289.6592 |  |  |  | -154.8978 |  |  |  | -188.0828 |  |  |  | 1.87 |  |  |  | 1.5401 |  |  | 0
|  | 5b |  | -625.8955 |  |  |  | -116.4332 |  |  |  | -87.4986 |  |  |  | -938.8432 |  |  |  | -938.8432 |  |  |  | -262.4958 |  |  |  | -349.2997 |  |  |  | 3.5766 |  |  |  | 2.6878 |  |  | 0
|  | 6 |  | 535.087 |  |  |  | 68.1978 |  |  |  | 38.4074 |  |  |  | 802.6305 |  |  |  | 802.6305 |  |  |  | 115.2221 |  |  |  | 204.5933 |  |  |  | 6.9659 |  |  |  | 3.9231 |  |  | 6.8365
|  | 7 |  | -202.8167 |  |  |  | -55.4564 |  |  |  | -31.0507 |  |  |  | -304.2251 |  |  |  | -304.2251 |  |  |  | -93.1522 |  |  |  | -166.3692 |  |  |  | 3.2659 |  |  |  | 1.8286 |  |  | 0
|  | 8 |  | 956.4752 |  |  |  | 41.0985 |  |  |  | 25.406 |  |  |  | 1434.7129 |  |  |  | 1434.7129 |  |  |  | 76.218 |  |  |  | 123.2954 |  |  |  | 18.8238 |  |  |  | 11.6364 |  |  | 19.7958
|  | 9 |  | 107.8151 |  |  |  | -28.3571 |  |  |  | -18.0494 |  |  |  | 161.7226 |  |  |  | 161.7226 |  |  |  | -54.1481 |  |  |  | -85.0714 |  |  |  | 2.9867 |  |  |  | 1.901 |  |  | 3.2074
|  | 10a |  | -557.4619 |  |  |  | -93.5324 |  |  |  | -77.8421 |  |  |  | -836.1928 |  |  |  | -836.1928 |  |  |  | -233.5264 |  |  |  | -280.5972 |  |  |  | 3.5807 |  |  |  | 2.98 |  |  | 0
|  | 10b |  | -345.6521 |  |  |  | -76.2537 |  |  |  | -78.7293 |  |  |  | -518.4781 |  |  |  | -518.4781 |  |  |  | -236.1878 |  |  |  | -228.761 |  |  |  | 2.1952 |  |  |  | 2.2665 |  |  | 0
|  | 11a |  | 1204.182 |  |  |  | 74.7986 |  |  |  | 58.6214 |  |  |  | 1806.2729 |  |  |  | 1806.2729 |  |  |  | 175.8642 |  |  |  | 224.3957 |  |  |  | 10.2708 |  |  |  | 8.0495 |  |  | 12.6712
|  | 11b |  | 1636.9713 |  |  |  | 128.5375 |  |  |  | 94.4874 |  |  |  | 2455.4569 |  |  |  | 2455.4569 |  |  |  | 283.4621 |  |  |  | 385.6126 |  |  |  | 8.6624 |  |  |  | 6.3677 |  |  | 10.2612
|  | 12a |  | -375.9791 |  |  |  | -69.5296 |  |  |  | -58.0238 |  |  |  | -563.9687 |  |  |  | -563.9687 |  |  |  | -174.0715 |  |  |  | -208.5889 |  |  |  | 3.2399 |  |  |  | 2.7037 |  |  | 0
|  | 12b |  | -217.1218 |  |  |  | -56.5706 |  |  |  | -58.6892 |  |  |  | -325.6827 |  |  |  | -325.6827 |  |  |  | -176.0675 |  |  |  | -169.7118 |  |  |  | 1.8498 |  |  |  | 1.919 |  |  | 0
|  | 13a |  | 945.2537 |  |  |  | 56.7186 |  |  |  | 44.3238 |  |  |  | 1417.8806 |  |  |  | 1417.8806 |  |  |  | 132.9715 |  |  |  | 170.1557 |  |  |  | 10.663 |  |  |  | 8.3328 |  |  | 13.1316
|  | 13b |  | 1269.8457 |  |  |  | 97.0228 |  |  |  | 71.2233 |  |  |  | 1904.7686 |  |  |  | 1904.7686 |  |  |  | 213.6699 |  |  |  | 291.0684 |  |  |  | 8.9145 |  |  |  | 6.5441 |  |  | 10.5505
|  | 14 |  | 952.5367 |  |  |  | 51.2902 |  |  |  | 28.8874 |  |  |  | 1428.805 |  |  |  | 1428.805 |  |  |  | 86.6623 |  |  |  | 153.8705 |  |  |  | 16.4871 |  |  |  | 9.2858 |  |  | 16.1815
|  | 15 |  | 719.5628 |  |  |  | 30.9657 |  |  |  | 19.1364 |  |  |  | 1079.3442 |  |  |  | 1079.3442 |  |  |  | 57.4092 |  |  |  | 92.8971 |  |  |  | 18.8009 |  |  |  | 11.6187 |  |  | 19.7673
|  | Governing Factor of Safety | [10 empty] | = |  | 1.5401 |  |  |  | > |  | 1.5 |  |  |  | << Therefore safe from Overturning
|  | Governing Sliding Factor | [10 empty] | = |  | 0 |  |  |  | < |  | 1.5 |  |  |  | << Not safe!
Load Combinations for Ultimate Strength Method
|  | 1) |  | 1.4 DL + 1.7 LL | [18 empty] | 5a) |  | 0.9 DL + 1.3 WL | [12 empty] | (WL @ 90o)
|  | 2a) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 0o) | [6 empty] | 5b) |  | 0.9 DL + 1.3 WL | [12 empty] | (WL @ 270o)
|  | 2b) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 180o) | [6 empty] | 6) |  | 0.75 (1.4 DL + 1.7 LL + 1.87 EQX)
|  | 3a) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 90o) | [6 empty] | 7) |  | 0.75 (1.4 DL + 1.7 LL + 1.87 EQZ)
|  | 3b) |  | 0.75 (1.4 DL + 1.7 LL + 0.7 WL) | [11 empty] | (WL @ 270o) | [6 empty] | 8) |  | 0.9 DL + 1.43 EQX
|  | 4a) |  | 0.9 DL + 1.3 WL | [11 empty] | (WL @ 0o) | [6 empty] | 9) |  | 0.9 DL + 1.43 EQZ
|  | 4b) |  | 0.9 DL + 1.3 WL | [11 empty] | (WL @ 180o)
For Footing A:
L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  |  | Q2 |  |  |  | Q3 |  |  |  | Q4 |  |  |  | Average Soil Pressure along edges, Qave
|  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | Q1 & Q2 |  |  |  | Q2 & Q3 |  |  |  | Q3 & Q4 |  |  | Q4 & Q1
1 |  | 220.8048 |  |  |  | -32.0117 |  |  |  | -5.4651e-06 |  |  |  | 31.6476 |  |  |  | 31.6476 |  |  |  | 17.4202 |  |  |  | 17.4202 |  |  |  | 31.6476 |  |  |  | 24.5339 |  |  |  | 17.4202 |  |  | 24.5339
2a |  | 1253.8154 |  |  |  | -419.8964 |  |  |  | 2.9979e-05 |  |  |  | 232.6231 |  |  |  | 232.6231 |  |  |  | 46.0025 |  |  |  | 46.0025 |  |  |  | 232.6231 |  |  |  | 139.3128 |  |  |  | 46.0025 |  |  | 139.3128
2b |  | 165.6036 |  |  |  | -24.048 |  |  |  | -28.0706 |  |  |  | 17.5065 |  |  |  | 29.9823 |  |  |  | 19.2943 |  |  |  | 6.8185 |  |  |  | 23.7444 |  |  |  | 24.6383 |  |  |  | 13.0564 |  |  | 12.1625
3a |  | -595.9101 |  |  |  | 252.4587 |  |  |  | -2.5442e-05 |  |  |  | -122.3142 |  |  |  | -122.3142 |  |  |  | -10.1103 |  |  |  | -10.1103 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
3b |  | -437.1759 |  |  |  | 214.4696 |  |  |  | 29.1622 |  |  |  | -89.7545 |  |  |  | -102.7155 |  |  |  | -7.3957 |  |  |  | 5.5653 |  |  |  | 0 |  |  |  | 0 |  |  |  | 2.7826 |  |  | 2.7826
4a |  | 2833.3507 |  |  |  | -1000.156 |  |  |  | 8.1005e-05 |  |  |  | 537.0736 |  |  |  | 537.0736 |  |  |  | 92.5598 |  |  |  | 92.5599 |  |  |  | 537.0736 |  |  |  | 314.8167 |  |  |  | 92.5599 |  |  | 314.8168
4b |  | 138.7309 |  |  |  | -19.9598 |  |  |  | -69.5081 |  |  |  | 4.4038 |  |  |  | 35.2963 |  |  |  | 26.4253 |  |  |  | -4.4672 |  |  |  | 19.8501 |  |  |  | 30.8608 |  |  |  | 13.2126 |  |  | 2.2019
5a |  | -1746.922 |  |  |  | 664.7234 |  |  |  | -5.6228e-05 |  |  |  | -341.8188 |  |  |  | -341.8187 |  |  |  | -46.3861 |  |  |  | -46.3862 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
5b |  | -1353.8659 |  |  |  | 570.655 |  |  |  | 72.2111 |  |  |  | -261.1949 |  |  |  | -293.2887 |  |  |  | -39.6642 |  |  |  | -7.5704 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
6 |  | 165.6036 |  |  |  | -24.009 |  |  |  | 7.049 |  |  |  | 25.3022 |  |  |  | 22.1693 |  |  |  | 11.4986 |  |  |  | 14.6315 |  |  |  | 23.7357 |  |  |  | 16.834 |  |  |  | 13.0651 |  |  | 19.9668
7 |  | -1024.6418 |  |  |  | 320.4806 |  |  |  | -2.4158e-05 |  |  |  | -185.067 |  |  |  | -185.067 |  |  |  | -42.6312 |  |  |  | -42.6312 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
8 |  | 138.7309 |  |  |  | -19.8631 |  |  |  | 7.1872 |  |  |  | 21.4257 |  |  |  | 18.2314 |  |  |  | 9.4034 |  |  |  | 12.5977 |  |  |  | 19.8286 |  |  |  | 13.8174 |  |  |  | 11.0005 |  |  | 17.0117
9 |  | -1074.8526 |  |  |  | 331.3812 |  |  |  | -2.3831e-05 |  |  |  | -193.0683 |  |  |  | -193.0683 |  |  |  | -45.7878 |  |  |  | -45.7878 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
For Footing B:
L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  |  | Q2 |  |  |  | Q3 |  |  |  | Q4 |  |  |  | Average Soil Pressure along edges, Qave
|  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | Q1 & Q2 |  |  |  | Q2 & Q3 |  |  |  | Q3 & Q4 |  |  | Q4 & Q1
1 |  | 220.8043 |  |  |  | -16.0045 |  |  |  | 27.7222 |  |  |  | 34.2509 |  |  |  | 21.9299 |  |  |  | 14.8168 |  |  |  | 27.1377 |  |  |  | 28.0904 |  |  |  | 18.3733 |  |  |  | 20.9772 |  |  | 30.6943
2a |  | -276.6487 |  |  |  | 1073.0932 |  |  |  | -753.2776 |  |  |  | -436.5989 |  |  |  | -101.8089 |  |  |  | 375.1214 |  |  |  | 40.3314 |  |  |  | 0 |  |  |  | 187.5607 |  |  |  | 207.7264 |  |  | 20.1657
2b |  | 598.5091 |  |  |  | -81.7708 |  |  |  | 154.5249 |  |  |  | 119.0112 |  |  |  | 50.3334 |  |  |  | 13.9909 |  |  |  | 82.6686 |  |  |  | 84.6723 |  |  |  | 32.1621 |  |  |  | 48.3297 |  |  | 100.8399
3a |  | 546.3599 |  |  |  | -62.65 |  |  |  | 150.6238 |  |  |  | 108.1008 |  |  |  | 41.1569 |  |  |  | 13.3125 |  |  |  | 80.2564 |  |  |  | 74.6289 |  |  |  | 27.2347 |  |  |  | 46.7844 |  |  | 94.1786
3b |  | 160.4113 |  |  |  | 5.6812 |  |  |  | 27.1579 |  |  |  | 22.5961 |  |  |  | 10.5259 |  |  |  | 13.0509 |  |  |  | 25.1211 |  |  |  | 16.561 |  |  |  | 11.7884 |  |  |  | 19.086 |  |  | 23.8586
4a |  | -956.3694 |  |  |  | 2676.9752 |  |  |  | -1899.5415 |  |  |  | -1123.267 |  |  |  | -279.0263 |  |  |  | 910.7404 |  |  |  | 66.4998 |  |  |  | 0 |  |  |  | 455.3702 |  |  |  | 488.6201 |  |  | 33.2499
4b |  | 1210.6881 |  |  |  | -182.688 |  |  |  | 348.3503 |  |  |  | 252.5294 |  |  |  | 97.7071 |  |  |  | 16.5124 |  |  |  | 171.3347 |  |  |  | 175.1182 |  |  |  | 57.1097 |  |  |  | 93.9236 |  |  | 211.9321
5a |  | 1081.5567 |  |  |  | -135.3412 |  |  |  | 338.6905 |  |  |  | 225.5133 |  |  |  | 74.9842 |  |  |  | 14.8326 |  |  |  | 165.3617 |  |  |  | 150.2488 |  |  |  | 44.9084 |  |  |  | 90.0971 |  |  | 195.4375
5b |  | 125.8745 |  |  |  | 33.8599 |  |  |  | 32.9654 |  |  |  | 13.7873 |  |  |  | -0.86401 |  |  |  | 14.1848 |  |  |  | 28.8361 |  |  |  | 6.8936 |  |  |  | 7.0924 |  |  |  | 21.5105 |  |  | 21.3117
6 |  | -865.1808 |  |  |  | 140.2244 |  |  |  | -235.825 |  |  |  | -179.6977 |  |  |  | -74.8866 |  |  |  | -12.5647 |  |  |  | -117.3758 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
7 |  | 760.7257 |  |  |  | -92.835 |  |  |  | 173.0216 |  |  |  | 143.6043 |  |  |  | 66.7058 |  |  |  | 25.4458 |  |  |  | 102.3443 |  |  |  | 105.1551 |  |  |  | 46.0758 |  |  |  | 63.8951 |  |  | 122.9743
8 |  | -912.2649 |  |  |  | 145.282 |  |  |  | -244.4471 |  |  |  | -187.9692 |  |  |  | -79.3261 |  |  |  | -14.7563 |  |  |  | -123.3994 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  | 0
9 |  | 745.5222 |  |  |  | -92.3472 |  |  |  | 172.4162 |  |  |  | 141.6721 |  |  |  | 65.0427 |  |  |  | 23.9995 |  |  |  | 100.6289 |  |  |  | 103.3574 |  |  |  | 44.5211 |  |  |  | 62.3142 |  |  | 121.1505
For Footing C:
L.C. |  | Fy |  |  |  | Mxx |  |  |  | Mzz |  |  |  | Q1 |  |  |  | Q2 |  |  |  | Q3 |  |  |  | Q4 |  |  |  | Average Soil Pressure along edges, Qave
|  | kN |  |  |  | kN-m |  |  |  | kN-m |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | kPa |  |  |  | Q1 & Q2 |  |  |  | Q2 & Q3 |  |  |  | Q3 & Q4 |  |  | Q4 & Q1
1 |  | 220.8044 |  |  |  | 16.0045 |  |  |  | 27.7222 |  |  |  | 27.1377 |  |  |  | 14.8168 |  |  |  | 21.9299 |  |  |  | 34.2509 |  |  |  | 20.9773 |  |  |  | 18.3733 |  |  |  | 28.0904 |  |  | 30.6943
2a |  | -378.5028 |  |  |  | -59.4867 |  |  |  | -168.0717 |  |  |  | -66.1859 |  |  |  | 8.5127 |  |  |  | -17.9259 |  |  |  | -92.6244 |  |  |  | 4.2563 |  |  |  | 4.2563 |  |  |  | 0 |  |  | 0
2b |  | -267.3026 |  |  |  | -35.2201 |  |  |  | -155.6747 |  |  |  | -56.468 |  |  |  | 12.7208 |  |  |  | -2.9326 |  |  |  | -72.1214 |  |  |  | 6.3604 |  |  |  | 6.3604 |  |  |  | 0 |  |  | 0
3a |  | 546.3602 |  |  |  | 62.65 |  |  |  | 150.6238 |  |  |  | 80.2564 |  |  |  | 13.3125 |  |  |  | 41.1569 |  |  |  | 108.1009 |  |  |  | 46.7845 |  |  |  | 27.2347 |  |  |  | 74.6289 |  |  | 94.1787
3b |  | 773.5746 |  |  |  | 107.7049 |  |  |  | 241.8641 |  |  |  | 115.7659 |  |  |  | 8.2707 |  |  |  | 56.1396 |  |  |  | 163.6347 |  |  |  | 62.0183 |  |  |  | 32.2052 |  |  |  | 109.8872 |  |  | 139.7003
4a |  | -1208.5797 |  |  |  | -167.0926 |  |  |  | -450.4603 |  |  |  | -197.2572 |  |  |  | 2.9473 |  |  |  | -71.316 |  |  |  | -271.5206 |  |  |  | 1.4737 |  |  |  | 1.4737 |  |  |  | 0 |  |  | 0
4b |  | -933.2269 |  |  |  | -107.0038 |  |  |  | -419.763 |  |  |  | -173.1939 |  |  |  | 13.3674 |  |  |  | -34.1898 |  |  |  | -220.7512 |  |  |  | 6.6837 |  |  |  | 6.6837 |  |  |  | 0 |  |  | 0
5a |  | 1081.5573 |  |  |  | 135.3411 |  |  |  | 338.6905 |  |  |  | 165.3618 |  |  |  | 14.8327 |  |  |  | 74.9843 |  |  |  | 225.5134 |  |  |  | 90.0972 |  |  |  | 44.9085 |  |  |  | 150.2488 |  |  | 195.4376
5b |  | 1644.1835 |  |  |  | 246.9058 |  |  |  | 564.6188 |  |  |  | 253.2899 |  |  |  | 2.3483 |  |  |  | 112.0842 |  |  |  | 363.0258 |  |  |  | 127.8191 |  |  |  | 57.2162 |  |  |  | 237.555 |  |  | 308.1579
6 |  | 1196.3873 |  |  |  | 164.2278 |  |  |  | 277.4061 |  |  |  | 158.0827 |  |  |  | 34.791 |  |  |  | 107.7812 |  |  |  | 231.0728 |  |  |  | 96.4369 |  |  |  | 71.2861 |  |  |  | 169.427 |  |  | 194.5777
7 |  | 760.7262 |  |  |  | 92.835 |  |  |  | 173.0217 |  |  |  | 102.3444 |  |  |  | 25.4459 |  |  |  | 66.7059 |  |  |  | 143.6044 |  |  |  | 63.8951 |  |  |  | 46.0759 |  |  |  | 105.1551 |  |  | 122.9744
8 |  | 1189.7262 |  |  |  | 165.1398 |  |  |  | 278.8474 |  |  |  | 157.4601 |  |  |  | 33.528 |  |  |  | 106.9234 |  |  |  | 230.8556 |  |  |  | 95.4941 |  |  |  | 70.2257 |  |  |  | 168.8895 |  |  | 194.1579
9 |  | 745.5227 |  |  |  | 92.3471 |  |  |  | 172.4162 |  |  |  | 100.629 |  |  |  | 23.9996 |  |  |  | 65.0427 |  |  |  | 141.6721 |  |  |  | 62.3143 |  |  |  | 44.5211 |  |  |  | 103.3574 |  |  | 121.1506
[34 empty] | Maximum Average Soil Pressure (Qave) | = | 537.0736 |  |  | kPa
CHECK FOR PUNCHING SHEAR:
[20 empty] | Vu |  | = |  | { B2 - (a + Thk) x (b + Thk) } x Qave
[22 empty] | = |  | 2685.3681 |  |  |  |  | kN
[20 empty] | b0 |  | = |  | 2 x (a + Thk) + 2 x (b + Thk)
[22 empty] | = |  | 8000 |  |  |  |  | mm
[20 empty] | Ap |  | = |  | b0 x Thk
[22 empty] | = |  | 8000000 |  |  |  |  | mm2
[20 empty] | Vc |  | = |  | (Ap / 3) x √f'c
[22 empty] | = |  | 12132.6007 |  |  |  |  | kN
[20 empty] | Vu |  | < |  | ( 0.85 Vc = 10,312.7 kN )
[24 empty] | Therefore: |  |  |  |  | Safe from Punching Shear !
DESIGN OF REINFORCEMENTS:
|  |  | Maximum Average Soil Pressure (Qave) | [14 empty] | = | 537.0736 |  |  |  | kPa
|  |  | Consider 3-meter strip of Footing: | [16 empty] | Mu |  | = |  | δ x L2 / 2
[22 empty] | = |  | 805.6104 | [5 empty] | kN-m
[20 empty] | Mu |  | = |  | 0.9 f'c x b x d2 w (1 - 0.59 w)
[20 empty] | b |  | = | 3000 |  |  |  |  | mm
[20 empty] | d |  | = | 2425 |  |  |  |  | mm
[20 empty] | w |  | = | 0.0024547
[20 empty] | r |  | = | 0.00018477 | [5 empty] | < |  |  | (r min |  | = | 0.0050145
[18 empty] | Use: |  | r |  | = | 0.0050145
[20 empty] | As |  | = | 36480.8182 |  |  |  |  | mm2
[19 empty] | Use |  | >> |  | 116 |  |  | pcs - |  |  | 20 |  | mm Rebars
Spaced @ 25 mm center to center (Both Ways)
5.0 |  | REBAR LAYOUT
116 pcs - 20 mm Rebars
Spaced @ 25 mm center to center (Both Ways)
6.0 |  | SUMMARY OF MATERIALS
[15 empty] | Per One | [13 empty] | Total (3 - sets)
|  | 1) Volume of Concrete | [11 empty] | = | 4.2588 | [5 empty] | m3 | [6 empty] | = | 12.7762 | [5 empty] | m3
|  | 2) Weight of Concrete | [11 empty] | = | 10201.8986 | [5 empty] | kgs | [6 empty] | = | 30605.6957 | [5 empty] | kgs
[14 empty] | = | 10.2019 | [5 empty] | Tons | [6 empty] | = | 30.6057 | [5 empty] | Tons
|  | 3) Weight of Rebars (Approx) | [11 empty] | = | 1630.6185 | [5 empty] | kgs | [6 empty] | = | 4891.8556 | [5 empty] | kgs
[14 empty] | = | 1.6306 | [5 empty] | Tons | [6 empty] | = | 4.8919 | [5 empty] | Tons
C
B
A
X
Z
5.60
2.80
3.23
1.62
5.60
2.80
3.00
3.00
2.50
0.50
1.00
1.50
FOOTING DETAIL
zz
xx
FOUNDATION LAYOUT
1
2
3
4
Type A
Type B
Type C
Type D
zz
zz
zz
xx
xx
xx
537.1 kPa
Thk
a + Thk
b + Thk
B = 3m
δ = 1,611.2 kN/m
L=1m
3 m
3 m
1.00 m
Mxx
Mzz
P
Your LOGO

## Sheet2
Dimensions:
Thickness | = | 1
DepthPed | = | 1.5
H/3 | = | 1.6166
2H/3 | = | 3.2332
LL/2 | = | 2.8
Average Pressure: | = | 537.1 kPa | δ = 1,611.2 kN/m
| = | B = 3m | 3 m
| = | L=1m | 1
| = | 1 | 1.00 m